Compliance Questionnaire and

Reliability Standard Audit Worksheet

FAC-001-0 — Facility Connection Requirements

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  TO

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |
| --- | --- |
| R1 |  |
| R2 |  |
| R3 |  |

# Reliability Standard Language

FAC-001-0 — Facility Connection Requirements

Purpose:

To avoid adverse impacts on reliability, Transmission Owners must establish facility connection and performance requirements.

Applicability:

Transmission Owner

NERC BOT Approval Date: 2/8/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

R1. 	The Transmission Owner shall document, maintain, and publish facility connection requirements to ensure compliance with NERC Reliability Standards and applicable Regional Reliability Organization, subregional, Power Pool, and individual Transmission Owner planning criteria and facility connection requirements.  The Transmission Owner’s facility connection requirements shall address connection requirements for:

R1.1. Generation facilities,

R1.2. Transmission facilities, and

R1.3. End-user facilities

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to FAC-001-0 R1.

___	Verify the Transmission Owner documented, maintained and published facility connection requirements for the following facilities consistent with NERC Reliability Standards, the applicable Regional Reliability Organization/Regional Entity, sub-regional, Power Pool, and individual Transmission Owner planning criteria and facility connection requirements:

___	Generation facilities

___	Transmission facilities

___	End-user facilities

Auditors Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R2. 	The Transmission Owner’s facility connection requirements shall address, but are not limited to, the following items:

R2.1. Provide a written summary of its plans to achieve the required system performance as described above throughout the planning horizon:

R2.1.1. 	Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems.

R2.1.2. 	Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible.

R2.1.3. 	Voltage level and MW and MVAR capacity or demand at point of connection.

R2.1.4. 	Breaker duty and surge protection.

R2.1.5. 	System protection and coordination.

R2.1.6.	Metering and telecommunications.

R2.1.7. 		Grounding and safety issues.

R2.1.8. 	Insulation and insulation coordination.

R2.1.9. 	Voltage, Reactive Power, and power factor control.

R2.1.10. Power quality impacts.

R2.1.11. 	Equipment Ratings.

R2.1.12. 	Synchronizing of facilities.

R2.1.13. 	Maintenance coordination.

R2.1.14. 	Operational issues (abnormal frequency and voltages).

R2.1.15. 	Inspection requirements for existing or new facilities.

R2.1.16. 	Communications and procedures during normal and emergency operating conditions.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to FAC-001-0 R2.

___	Verify the Transmission Owner's facility connection requirements address the following items:

___	A written summary of its plans to achieve the required system performance as described above throughout the planning horizon

___	Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems

___	Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible

___	Voltage level and MW and MVAR capacity or demand at point of connection

___	Breaker duty and surge protection

___	System protection and coordination

___	Metering and telecommunications

___	Grounding and safety issues

___	Insulation and insulation coordination

___	Voltage, Reactive Power, and power factor control

___	Power quality impacts

___	Equipment Ratings

___	Synchronizing of facilities

___	Maintenance coordination

___	Operational issues (abnormal frequency and voltages)

___	Inspection requirements for existing or new facilities

___	Communications and procedures during normal and emergency operating conditions

Auditors Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R3. 	The Transmission Owner shall maintain and update its facility connection requirements as required.  The Transmission Owner shall make documentation of these requirements available to the users of the transmission system, the Regional Reliability Organization, and NERC on request (five business days).

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to FAC-001-0 R3.

___	Verify the Transmission Owner maintained and updated its facility connection requirements.

___	Verify the Transmission Owner made the facility connection requirements available within five (5) business days of a request.

Auditors Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

FAC-001-0

Order 693

P 678.  	Proposed Reliability Standard FAC-001-0 is intended to ensure that transmission owners establish facility connection and performance requirements to avoid adverse impacts to the Bulk-Power System. In the NOPR, the Commission proposed to approve FAC-001-0 as mandatory and enforceable.

P 680.  As discussed in the NOPR, the Commission believes that Reliability Standard FAC-001-0 is just, reasonable, not unduly discriminatory or preferential and in the public interest and approves it as mandatory and enforceable.