Compliance Questionnaire and

Reliability Standard Audit Worksheet

FAC-009-1 — Establish and Communicate Facility Ratings

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s): TO, GO

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

FAC-009-1 — Establish and Communicate Facility Ratings

Purpose:

To ensure that Facility Ratings used in the reliable planning and operation of the Bulk Electric System (BES) are determined based on an established methodology or methodologies.

Applicability:

Transmission Owner

Generator Owner

NERC BOT Approval Date: 2/7/2006

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

R1. 	The Transmission Owner and Generator Owner shall each establish Facility Ratings for its solely and jointly owned Facilities that are consistent with the associated Facility Ratings Methodology.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to 	FAC-009-1 R1.

___		Review the evidence provided by the entity to verify that the entity’s Facility Ratings were developed consistent with its Facility Ratings Methodology.

___		Review the evidence provided by the entity to verify that the entity has Facility Ratings for its solely and jointly owned Facilities including:

___	New Facilities

___	Existing Facilities

___	Modifications to existing Facilities

___	Re-ratings of existing Facilities

Auditors Detailed notes:

R2. 	The Transmission Owner and Generator Owner shall each provide Facility Ratings for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities to its associated Reliability Coordinator(s), Planning Authority(ies), Transmission Planner(s), and Transmission Operator(s) as scheduled by such requesting entities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to FAC-009-1 R2.

___	Determine the requesting entity schedule for providing Facility Ratings to the entities listed in Requirement 2.

___	Review the evidence provided by the entity to verify evidence that the entity provided its Facility Ratings to its associated Reliability Coordinator(s), Planning Authority(ies), Transmission Planner(s), and Transmission Operator(s) as scheduled by the requesting entities for:

___	Existing Facilities

___	New Facilities

___	Modifications to existing Facilities

___	Re-ratings of existing Facilities (this could include seasonal ratings)

Auditors Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

FAC-009-1

Order 693

P 772. FAC-009-1 requires each transmission owner and generation owner to establish 	facility ratings consistent with its associated facility ratings methodology and 	provide those ratings to its reliability coordinator, transmission operator, 	transmission planner and planning authority. In the NOPR, the Commission

proposed to approve FAC-009-1 as mandatory and enforceable.

P 774. FAC-009-1 serves an important reliability purpose of ensuring that facility ratings are determined based on an established methodology. Further, the proposed Requirements set forth in FAC-009-1 are sufficiently clear and objective to provide guidance for compliance. Accordingly, the Commission approves Reliability Standard FAC-009-1 as mandatory and enforceable.

November 16, 2007 Order on Compliance Filing, Docket Nos. RR07-9-003 and RR07-10-003.

P 59.  FAC-008-1, Requirements R1.1, R1.2, R1.2.1, and R1.2.2 contain the specifications for the methodology used for developing a facility rating for solely-owned and jointly-owned facilities.  NERC views these Requirements as supportive of other Requirements in FAC-008-1 and characterizes them as the documentation of a methodology, a task NERC represents as administrative. …

P 61.  … While these Requirements indeed support Requirement R1, more importantly, they comprise the basis for which facility ratings will be determined in Reliability Standard FAC-009-1. … the absence of a documented methodology may adversely affect the electrical state of, capability of, or the ability to effectively monitor and control the Bulk-Power System because FAC-008-1 is the only Reliability Standard where the elements used to develop facility ratings is established.  The elements, and subsequently developed methodology, are directly relevant to the effective monitoring of the Bulk-Power System.  For example, the investigation following the August 14, 2003 blackout determined that there are significant variations in how the ratings of transmission lines are calculated.  The Final Blackout Report concluded that these variations create unnecessary and unacceptable uncertainties about the safe carrying capacity of individual lines on the transmission networks.  To address these “unnecessary and unacceptable uncertainties” that are directly relevant to the efficient monitoring of the Bulk-Power System, Final Blackout Report Recommendation No. 27 requires the development of enforceable standards for transmission line ratings.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | December 2010 | QRSAW WG | Revised Findings Table, modified Supporting Evidence tables and Added Revision History |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |
| 1.1 | September 2011 | Craig Struck | Format changes for 2012. |