Compliance Questionnaire and

Reliability Standard Audit Worksheet

INT-004-2 — Dynamic Interchange Transaction Modifications

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):	       	RC, TOP, BA, PSE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |
| --- | --- | --- |
| R1 |  |  |
| R2 |  |  |

Reliability Standard Language

INT-004-2	 — Dynamic Interchange Transaction Modifications

Purpose:

To ensure Dynamic Transfers are adequately tagged to be able to determine their reliability impacts.

Applicability:

Reliability Coordinators

Transmission Operator

Balancing Authorities

Purchasing Selling Entities

NERC BOT Approval Date: 10/09/2007

FERC Approval Date: 7/21/2008

Reliability Standard Enforcement Date in the United States: 8/28/2008

Requirements:

At such time as the reliability event allows for the reloading of the transaction, the entity that initiated the curtailment shall release the limit on the interchange Transaction tag to allow reloading the transaction and shall communicate the release of the limit to the Sink Balancing Authority.

Describe, in narrative form, how you meet compliance with this requirement:  (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to 	INT-004-2 R1

__   Verify, if the entity curtailed a transaction, the entity released the limit on the Transaction tag to allow reloading of the transaction.

Verify the entity communicated the release of the limit to the Sink Balancing Authority.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

The Purchasing-Selling Entity responsible for tagging a Dynamic Interchange Schedule shall ensure the tag is updated for the next available scheduling hour and future hours when any one of the following occurs:

  - The average energy profile in an hour is greater than 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than ±10%.

  - The average energy profile in an hour is less than or equal to 250 MW and in that hour the actual hourly integrated energy deviates from the hourly average energy profile indicated on the tag by more than ±25 megawatt-hours.

  - A Reliability Coordinator or Transmission Operator determines the deviation regardless of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that determination and the reasons.

Describe, in narrative form, how you meet compliance with this requirement:  (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to 	INT-004-2 R2

Verify the PSE responsible for tagging Dynamic Interchange Schedules ensured the tag was updated when any of the following occurs:

The energy profile for the hour was greater than 250 MW in that hour and the actual

integrated value deviated from the hourly average profile by more than ±10%.

The energy profile for the hour was less than or equal to 250 MW in that hour and the actual

integrated value deviated from the hourly average profile by more than ±25 MWH.

An RC or TOP determines the deviation to be a reliability concern and notifies the PSE of

the determination and the reasons.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other – The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

INT-004-2

http://www.nerc.com/files/order_693.pdf

P795	"The Interchange Scheduling and Coordination (INT) group of Reliability

Standards addresses interchange transactions, which occur when electricity is

transmitted from a seller to a buyer across the power grid. Specific information

regarding each transaction must be identified in an accompanying electronic

label, known as a “Tag” or “e-Tag” which is used by affected reliability

coordinators, transmission service providers and balancing authorities to assess

the transaction for reliability impacts. Communication, submission, assessment

and approval of a Tag must be completed for reliability consideration before

implementation of the transaction."

P801	"The NERC glossary definition of interchange authority indicates that it is

intended to provide essentially a quality control function in verifying and

approving interchange schedules and communicating that information. ….The

new interchange authority function allows an entity other than a balancing

authority to perform this function in the future; the pre-existing INT-001-1

Reliability Standard identified the balancing authority as the responsible entity to

perform this function. Any such entity should be registered by the ERO in the

ERO compliance registry, so that the responsibility of an entity, other than a

balancing authority, that takes on this role in the future would be clear."

P840	"INT-004-1 seeks to ensure that dynamic transfers are adequately tagged to be

able to determine their reliability impact. It requires the sink balancing authority,

i.e., the balancing authority responsible for the area where the load or end-user is

located, to communicate any change in the transaction. It also requires the

updating of Tags for dynamic schedules."

P843	"As explained in the NOPR, while the Commission has identified concerns with

regard to INT-004-1, this proposed Reliability Standard serves an important

purpose by setting thresholds on changes in dynamic schedules for which

modified interchange data must be submitted. Further, the Requirements set

forth in INT-004-1 are sufficiently clear and objective to provide guidance for

compliance. Accordingly, the Commission approves Reliability Standard

INT-004-1 as mandatory and enforceable."

Order 713

http://www.nerc.com/files/Order_713_Modified-INT_and_TLR-Stds-07212008.pdf

P9	"….NERC stated that the modifications to INT-001-3 and INT-004-2 eliminate

waivers requested in 2002 under the voluntary Reliability Standards regime for

entities in the WECC region...."

http://www.nerc.com/files/Order_713_Modified-INT_and_TLR-Stds-07212008.pdf

P54	"In its December 26, 2007 filing, NERC stated that, by rescinding the e-tagging

waivers, NERC maintains uniformity and makes no structural changes to the

requirements in the current Commission-approved version of the Reliability

Standards."

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | 2/18/10 | QRSAW WG | Revised format. |
| 1 | 5/5/10 | Craig Struck | Minor formatting changes. |