Compliance Questionnaire and

Reliability Standard Audit Worksheet

INT-006-3 — Response to Interchange Authority

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  BA, TSP

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

INT-006-3 – Response to Interchange Authority

Purpose:  To ensure that each Arranged Interchange is checked for reliability before it is implemented.

Applicability:

Balancing Authority

Transmission Service Provider

NERC BOT Approval Date: 10/29/2008

FERC Approval Date: 12/17/2009

Reliability Standard Enforcement Date in the United States: 7/1/2010

Requirements:

Prior to the expiration of the reliability assessment period defined in the timing requirements tables in this standard, Column B, the Balancing Authority and Transmission Service Provider shall respond to each On-time Request for Interchange (RFI), and to each Emergency RFI and Reliability Adjustment RFI from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.

  - Each involved Balancing Authority shall evaluate the Arranged Interchange with respect to:

    - Energy profile (ability to support the magnitude of the Interchange).

    - Ramp (ability of generation maneuverability to accommodate).

    - Scheduling path (proper connectivity of Adjacent Balancing Authorities).

  - Each involved Transmission Service Provider shall confirm that the transmission service arrangements associated with the Arranged Interchange have adjacent Transmission Service Provider connectivity, are valid and prevailing transmission system limits will not be violated.

- Describe, in narrative form, how you meet compliance with this requirement:

- (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page and Section, Date and Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to INT-006-3 R1

___Verify that prior to the expiration of the reliability assessment period defined in the Timing Table, Column B, the BA or TSP responded to a request from an IA to transition an Arranged Interchange to a Confirmed Interchange.

The BA evaluated the Arranged Interchange with respect to:

Energy profile

Ramp

Scheduling path

The TSP confirmed that the transmission service arrangements associated with the Arranged Interchange have adjacent TSP connectivity, were:

Valid

Prevailing transmission system limits would not be violated

Auditor Detailed Notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through September 1, 2010

INT-006-3

Order 693

March 16, 2007

INT-006-1

849. INT-006-1 applies to balancing authorities and transmission service providers, and requires these entities to evaluate the energy profile and ramp rate of generation that supports interchange transactions in response to a request from an interchange authority to change the status of an interchange from an arranged interchange transaction to a confirmed interchange.

850. The Commission proposed in the NOPR to approve Reliability Standard INT-006- 1 as mandatory and enforceable. In addition, the Commission proposed to direct NERC to submit a modification to INT-006-1 that: (1) makes it applicable to reliability coordinators and transmission operators and (2) requires reliability coordinators and transmission operators to review composite transactions from the wide-area reliability viewpoint and, where their review indicates a potential detrimental reliability impact, communicate to the sink balancing authorities necessary transaction modifications before implementation.

859. The Commission approves INT-006-1 as mandatory and enforceable. In addition, we direct that NERC develop modifications to the Reliability Standard, as discussed below.

860. The Commission remains convinced that a proactive approach is superior to a reactive approach in maintaining system reliability. While EEI and Entergy claim that reliability coordinators and transmission operators’ involvement in reliability reviews of interchange transactions are covered in INT-005 through INT-010, and MISO claims that such review is covered in other Reliability Standards, we note the following: References to reliability coordinator and transmission operator involvement are virtually absent from the INT Reliability Standards. One finds such references only in Requirement R2 of INT-010, which deals with interchange coordination exemptions, and there the involvement of reliability coordinators is restricted to situations that involve current or imminent reliability-related reasons for action. We cannot find any Requirements in the remaining INT Reliability Standards that require a wide-area reliability assessment, regardless of the time periods, by a reliability coordinator; wide-area reliability assessment, moreover, can only be carried out by reliability coordinators.

866. Accordingly, the Commission approves Reliability Standard INT-006-1 as mandatory and enforceable. In addition, the Commission directs the ERO to develop a modification to INT-006-1 through the Reliability Standards development process that: (1) makes it applicable to reliability coordinators and transmission operators and (2) requires reliability coordinators and transmission operators to review energy interchange transactions from the wide-area and local area reliability viewpoints respectively and, where their review indicates a potential detrimental reliability impact, communicate to the sink balancing authorities necessary transaction modifications before implementation. We also direct that the ERO consider the suggestions made by EEI and TVA and address the questions raised by Entergy and Northern Indiana in the course of the Reliability Standards development process.

Order 713

July 21, 2008

INT-006-2

62. Reliability Standards for INT-005-2, INT-006-2, and INT-008-2 increase the timeframe for applicable WECC entities to perform the reliability assessment from five to ten minutes for next hour interchange tags submitted in the first thirty minutes of the hour before. According to NERC, this modification is needed because the majority of next hour tags in WECC are submitted between xx:00 and xx:30. The existing five minute assessment window makes it nearly impossible for balancing authorities and transmission service providers to review each tag before the five minute assessment time expires. According to NERC, when the time expires, the tags are denied and must be resubmitted.

63. In its December 26, 2007 filing, NERC stated that WECC has experienced numerous instances of transactions being denied because one or more applicable reliability entities did not actively approve the tag. In NERC’s view, the current structure causes frustration and inefficiencies for entities involved in this process, as requestors are required to re-create tags that are denied. Further, NERC stated that there is no reliability basis for a five minute assessment period for tags submitted at least thirty minutes ahead of the ramp-in period.

64. NERC noted that, prior to January 1, 2007, when the new INT group of Reliability Standards was implemented WECC had a ten-minute reliability assessment period for next-hour tags. NERC states that the urgent action request restores assessment times back to ten minutes.

67. Pursuant to section 215(d) of the FPA, the Commission approves Reliability Standards INT-005-2, INT-006-2, and INT-008-2 as mandatory and enforceable.

Order 730

December 17, 2009

INT-006-3

1. Pursuant to section 215 of the Federal Power Act (FPA), the Commission hereby approves three revised Interchange Scheduling and Coordination (INT) Reliability Standards developed by the North American Electric Reliability Corporation (NERC): INT-005-3, Interchange Authority Distributes Arranged Interchange; INT-006-3, Response to Interchange Authority; and INT-008-3, Interchange Authority Distribution of Information.1 The approved changes provide consistency in responding to interchange requests by clarifying timing requirements for all affected entities, and facilitate the reliable operation of the Bulk-Power System by providing Western Electricity Coordinating Council (WECC) entities sufficient time to assess and respond to requests for interchange service.

16. INT-006-3, Requirement R1 requires communication between balancing authorities, transmission service providers, and an interchange authority regarding when to respond to a request for interchange service:

Requirement R1: Prior to the expiration of the reliability assessment period defined in the timing requirements tables in this standard, Column B, the Balancing Authority and the Transmission Service Provider shall respond to each On-time Request for Interchange (RFI), and to each Emergency RFI and Reliability Adjustment RFI from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.

17. Balancing authorities and transmission service providers must review proposed interchange transactions to ensure that transmission service is available and system limits are not violated and must inform the interchange authority whether a request may be confirmed.26 Reliability coordinators and transmission service providers must review composite energy interchange transaction information to ensure that their systems can accommodate the energy, generation is available based on start-up characteristics, and the scheduling path is available on both local and adjacent systems.

18. NERC’s proposal incorporates one important change from the version 2 requirements. The prior revision, reflected in version 2, requires responsible entities to “respond to a request from an Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.” This language suggests that a response is required for requests within the designated time periods. In version 3, Requirement R1 is clarified, directing the applicable entity to respond to “on-time” requests for interchange service within a given time period, and also to all Emergency and Reliability Adjustment requests for interchange service.27 Entities are required to respond to each of these latter two requests regardless of the timelines identified in the timing tables, with paperwork to follow later. Time classifications and deadlines apply to both initial arranged interchange submittals and any subsequent modifications to the arranged interchange.

19. The Commission finds the clarification to INT-006-3, Requirement R1 acceptable. Responsible entities are still required to respond to all on-time requests for interchange service, as well as all requests for Emergency interchange service and Reliability Adjustment interchange service.

21. Consistent with the NOPR, the Commission finds the revisions to the three revised INT Reliability Standards, INT-005-3, INT-006-3 and INT-008-3, and the associated glossary terms reasonable in providing consistent and clear rules for responding to interchange service requests. The Commission accepts the revised INT Reliability Standards as mandatory and enforceable and the related glossary terms, as discussed.

Revision History

| Version | Date |  | Reviewers | Revision Description |
| --- | --- | --- | --- | --- |
| 1 | July 2010 |  | RSAW Working Group | New Document |
| 1 | September 2010 |  | NERC Legal & NERC Compliance | Added regulatory language & reviewed for formatting consistency. |
| 1.1 | December 2010 |  | RSAW WG | Revised Findings Table and modified Supporting Evidence Table |
| 1.1 | January 2011 | Craig Struck |  | Reviewed for format consistency and content. |

The Balancing Authority and Transmission Service Provider need not provide responses to any other requests.