Compliance Questionnaire and

Reliability Standard Audit Worksheet

IRO-002-1 — Reliability Coordination – Facilities

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  RC

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |
| --- | --- |
| R1 |  |
| R2 |  |
| R3 |  |
| R4 |  |
| R5 |  |
| R6 |  |
| R7 |  |
| R8 |  |
| R9 |  |

Reliability Standard Language

IRO-002-1 — Reliability Coordination – Facilities

Purpose:

Reliability Coordinators need information, tools and other capabilities to perform their responsibilities.

Applicability:

Reliability Coordinator

NERC BOT Approval Date: 11/1/2006

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

Each Reliability Coordinator shall have adequate communications facilities (voice and data links) to appropriate entities within its Reliability Coordinator Area.  These communications facilities shall be staffed and available to act in addressing a real-time emergency condition.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R1.

___	Verify the Reliability Coordinator has the following voice facilities between itself and appropriate entities within its Reliability Coordinator area:

___  Voice

___  Data

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall determine the data requirements to support its reliability coordination tasks and shall request such data from its Transmission Operators, Balancing Authorities, Transmission Owners, Generation Owners, Generation Operators, and Load-Serving Entities, or adjacent Reliability Coordinators.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- his section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R2.

[TO BE DEVELOPED]

EH

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator — or its Transmission Operators and Balancing Authorities — shall provide, or arrange provisions for, data exchange to other Reliability Coordinators or Transmission Operators and Balancing Authorities via a secure network.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R3.

[TO BE DEVELOPED]

EH

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall have multi-directional communications capabilities with its Transmission Operators and Balancing Authorities, and with neighboring Reliability Coordinators, for both voice and data exchange as required to meet reliability needs of the Interconnection.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R4.

___	Verify the Reliability Coordinator has multi-directional voice communications capabilities with its 	Transmission Operators and Balancing Authorities as required to meet the reliability needs of the interconnection.

___	Verify the Reliability Coordinator has multi-directional data communications capabilities with its Transmission Operators and Balancing Authorities as required to meet the reliability needs of the interconnection.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall have detailed real-time monitoring capability of its Reliability Coordinator Area and sufficient monitoring capability of its surrounding Reliability Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.  Each Reliability Coordinator shall have monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel, giving particular emphasis to alarm management and awareness systems, automated data transfers, and synchronized information systems, over a redundant and highly reliable infrastructure.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R5.

___	Verify the Reliability Coordinator has monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel.

___	Verify the Reliability Coordinator has sufficient monitoring capability of its surrounding Reliability 	Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.

___	Verify the Reliability Coordinator has detailed real-time monitoring capability of its Reliability Coordinator Area.

___	Verify the Reliability Coordinator has:

___	alarm management and awareness systems

___	automated data transfers

___	synchronized information systems

___	Verify the above systems utilize a redundant and highly reliable infrastructure.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall monitor Bulk Electric System elements (generators, transmission lines, buses, transformers, breakers, etc.) that could result in SOL or IROL violations within its Reliability Coordinator Area.  Each Reliability Coordinator shall monitor both real and reactive power system flows, and operating reserves, and the status of Bulk Electric System elements that are or could be critical to SOLs and IROLs and system restoration requirements within its Reliability Coordinator Area.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R6.

___	Verify the Reliability Coordinator monitors BES elements that could result in SOL or IROL violations within its Reliability Coordinator area.  This shall include, but is not limited to:

___	Real and reactive power

___	Operating reserves

___	Generators

___	Transmission lines

___	Buses

___	Transformers

___	Breakers

___	Other critical elements

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall have adequate analysis tools such as state estimation, pre- and post-contingency analysis capabilities (thermal, stability, and voltage), and wide-area overview displays.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R7.

___	Verify the adequacy of the Reliability Coordinator’s analysis tools.  These tools could include:

___	state estimation

___	pre- and post-contingency analysis capabilities (thermal, stability, and voltage)

___	wide-area overview displays

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall continuously monitor its Reliability Coordinator Area.  Each Reliability Coordinator shall have provisions for backup facilities that shall be exercised if the main monitoring system is unavailable.  Each Reliability Coordinator shall ensure SOL and IROL monitoring and derivations continue if the main monitoring system is unavailable.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R8.

___	Verify that the Reliability Coordinator continuously monitors its Reliability Coordinator area.

___	Verify the Reliability Coordinator has provisions for backup facilities that can be exercised if the main monitoring system is unavailable.

Note: Wording here suggests this relates to the monitoring SYSTEM, not the building…so a fully redundant SYSTEM may suffice.

___	Verify the Reliability Coordinator has a process or procedure to ensure SOLs and IROLs are monitored and derived if the main system is unavailable.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall control its Reliability Coordinator analysis tools, including approvals for planned maintenance.  Each Reliability Coordinator shall have procedures in place to mitigate the effects of analysis tool outages.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-1 R9.

[TO BE DEVELOPED]

EH

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

IRO-002-1

Order 693

P 888.  The Interconnection Reliability Operations and Coordination (IRO) group of Reliability Standards detail the responsibilities and authorities of a reliability coordinator. The IRO Reliability Standards establish requirements for data, tools and wide-area view, all of which are intended to facilitate a reliability coordinator’s ability to perform its responsibilities and ensure the reliable operation of the interconnected grid.

P 899.  IRO-002-1 establishes the requirements for data, information, monitoring and analytical tools and communication facilities to enable a reliability coordinator to meet the reliability needs of the Interconnection, to act in addressing real-time emergency conditions and to control analysis tools.

P 908.  As we stated in the NOPR, Reliability Standard IRO-002-1 serves an important purpose in ensuring that reliability coordinators have the information, tools and capabilities to perform their functions. The Measures and Levels of Non-Compliance submitted by NERC further enhance the Reliability Standard. Accordingly, the Commission approves Reliability Standard IRO-002-1 as mandatory and enforceable. …