Compliance Questionnaire and

Reliability Standard Audit Worksheet

TOP-003-0 — Planned Outage Coordination

Registered Entity:  (Must be completed by the Compliance Enforcement Authority)

NCR Number:  (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s): GOP, TOP, BA, RC

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization, and the requirement(s) for which they are responsible.  Include additional sheets if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page and Section, Date and Version |
| --- | --- |
| R1 |  |
| R2 |  |
| R3 |  |
| R4 |  |

# Reliability Standard Language

TOP-003-0 — Planned Outage Coordination

Purpose:

Scheduled generator and transmission outages that may affect the reliability of interconnected operations must be planned and coordinated among Balancing Authorities, Transmission Operators, and Reliability Coordinators.

Applicability:

- Generator Operators

- Transmission Operators

- Balancing Authorities

- Reliability Coordinators

NERC BOT Approval Date: 2/2/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

Generator Operators and Transmission Operators shall provide planned outage information.

  - Each Generator Operator shall provide outage information daily to its Transmission Operator for scheduled generator outages planned for the next day (any foreseen outage of a generator greater than 50 MW).  The Transmission Operator shall establish the outage reporting requirements.

  - Each Transmission Operator shall provide outage information daily to its Reliability Coordinator, and to affected Balancing Authorities and Transmission Operators for scheduled generator and bulk transmission outages planned for the next day (any foreseen outage of a transmission line or transformer greater than 100 kV or generator greater than 50 MW) that may collectively cause or contribute to an SOL or IROL violation or a regional operating area limitation.  The Reliability Coordinator shall establish the outage reporting requirements.

  - Such information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

Question: Describe your methodology for determining transmission or generation elements that do no need to be reported.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to TOP-003-0 R1

___ Review data submittals and confirm that they conform to established reporting requirements.

___ Review the evidence provided to verify that the Reliability Coordinator and/or the Transmission Operator have established documented outage reporting procedures.

___ Review outage schedules for transmission and/or generation as applicable and compare to

outage submissions

___ Review methodology or criteria of determining if a transmission or generation element does not need to be reported because it does not cause or contribute to an SOL or IROL

___ Review logs of data submittal times.

___ Review any applicable software applications that are used for requesting, tracking,

performing, or transmitting outages

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of system voltage regulating equipment, such as automatic voltage regulators on generators, supplementary excitation control, synchronous condensers, shunt and series capacitors, reactors, etc., among affected Balancing Authorities and Transmission Operators as required.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

- Question: Did you experience a planned outage of system voltage regulating equipment during the audit period? If yes, provide evidence of coordination.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to TOP-003-0 R2

___ Review coordination methods or procedures

___ Review communications, logs, or other evidence to confirm that coordination occurred.

NOTE: Coordination methods or procedures do not have to be in a formal written document.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of telemetering and control equipment and associated communication channels between the affected areas.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

- Question: Did you experience a planned outage of telemetering or control equipment and associated communication channels during the audit period? If yes, provide evidence of coordination.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to TOP-003-0 R3

___ Review coordination methods or procedures

___ Review communications or logs indicating that coordination occurred

NOTE: Coordination methods or procedures do not have to be in a formal written document.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Each Reliability Coordinator shall resolve any scheduling of potential reliability conflicts.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to TOP-003-0 R4

___ Identify reliability conflict resolution process, procedures, or empowerment agreements that verify the Reliability Coordinator has the authority to resolve scheduling conflicts.

___ Review logs or decisions of any scheduling conflicts

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

TOP-003-0

Order 693

P 1567.  The eight Transmission Operations (TOP) Reliability Standards apply to transmission operators, generator operators and balancing authorities. The goal of these Reliability Standards is to ensure that the transmission system is operated within operating limits. Specifically, these Reliability Standards cover the responsibilities and decision-making authority for reliable operations, requirements for operations planning, planned outage coordination, real-time operations, provision of operating data, monitoring of system conditions, reporting of operating limit violations and actions to mitigate such violations. The Interconnection Reliability Operations and Coordination (IRO) group of Reliability Standards complement these proposed TOP Reliability Standards.

P 1609.  Reliability Standard TOP-003-1 requires transmission operators that operate facilities greater than 100 kV, generator operators that operate facilities greater than 50 MW and balancing authorities to coordinate transmission and generator maintenance schedules. Where a conflict in maintenance schedule arises, the reliability coordinator is authorized to resolve the conflict.

P 1619.  The Commission approves TOP-003-1 as mandatory and enforceable…

P 1624.  … registered entities below the thresholds currently defined in Requirement R1 of the Reliability Standard may have an impact on reliability and therefore should be required to submit data on their planned outages…

P 1626.  Planned outage coordination is a necessary element of reliable operations, and TOP-003-1 promotes that goal. Accordingly, the Commission approves the Reliability Standard as mandatory and enforceable…

Order No. 693-A

- P 42.  TOP-003-1 contains Requirements that can have a significant impact on both the reliability of the Bulk-Power System and on competition with regard to available transfer capability (ATC).  The Commission’s approval of TOP-003-1 does not override either the compliance registry or the ERO.  The planning authority or transmission planner should inform its Regional Entity if it is not receiving cooperation in getting the information it requires.  We note that section 39.2(d) of our regulations requires each user, owner or operator of the Bulk-Power System to provide the Commission, the ERO and the applicable Regional Entity such information as is necessary to implement section 215 of the FPA.  If a problem arises in obtaining information necessary to calculate ATC, the Commission may revisit this matter in the future.  For example, if entities are unable to obtain the required information under TOP-003-1, the Commission might require the ERO, through the Reliability Standards development process, to develop a provision to ensure that all jurisdictional entities that must provide information pursuant to TOP-003-1 because of a particular reliability need are added to the registry, even if only to meet the requirements of TOP-003-1.