Pre-Audit Questionnaire and

Reliability Standard Audit Worksheet

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Compliance Assessment Method(s):	Complaint, Self Reporting, and

Compliance Violation Investigation

Applicable Function(s):	All

Registered Entity responses to this Questionnaire and Reliability Standard Audit

Worksheet must be verified under oath.  NERC has included a form of verification

suitable for execution in the Appendix.

Disclaimer

NERC developed the Reliability Standard Audit Worksheet (RSAW) language to add

clarity and consistency to the Compliance Enforcement Authority’s assessment of

compliance with this Reliability Standard.  Additional detail included in the RSAW

language provides the methodology that NERC has elected to use to assess requirements

and should not be considered additional Reliability Standard requirements.  NERC

Reliability Standards are updated frequently.  Please note that the NERC RSAW language

contained within this document, provides a non-exclusive list, for informational purposes

only, of the examples of evidence a registered entity may produce and adherence to the

examples contained within the RSAW language does not necessarily constitute

compliance with the applicable Reliability Standard Requirements.

The NERC RSAW language is written to specific versions of each NERC Reliability

Standard.  RSAW language users should choose the applicable RSAW language version

of the NERC Reliability Standard being assessed.  It is the responsibility of the registered

entity to verify its compliance with the latest approved version of the Reliability Standards

applicable to its registration.  The latest version of the Reliability Standards is posted on

the NERC website.

<http://www.nerc.com/page.php?cid=2|20>

This document includes excerpts from FERC Orders and other regulatory references.

Order cites are provided for ease of reference only and do not necessarily include all

applicable Order provisions.  The text of the Order prevails.

INT-004-2 - Dynamic Interchange Transaction Modifications

Purpose:

To ensure Dynamic Transfers are adequately tagged to be able to determine their reliability

impacts.

Applicability:

Balancing Authority

Purchasing Selling Entity

Reliability Coordinator

Transmission Operator

NERC BOT Approval Date: 10/9/2007

FERC Approval Date: 7/21/2008

Reliability Standard Enforcement Date in the United States: 8/27/2008

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.

Include the person's title, organization, phone number and the requirement(s).  The

personnel listed must be available during the compliance audit.  Should there be a conflict

in scheduling the appropriate individuals, please notify the audit team lead.

Response: (Registered Entity Response Required)

SME Name(s), Title, Organization, Phone, Email, Requirement(s)

1.

2.

3.

Excerpts from Regulatory Authority Orders

(Reference Information)

Order 693

http://www.nerc.com/files/order_693.pdf

P795	"The Interchange Scheduling and Coordination (INT) group of Reliability

Standards addresses interchange transactions, which occur when electricity is

transmitted from a seller to a buyer across the power grid. Specific information

regarding each transaction must be identified in an accompanying electronic

label, known as a “Tag” or “e-Tag” which is used by affected reliability

coordinators, transmission service providers and balancing authorities to assess

the transaction for reliability impacts. Communication, submission, assessment

and approval of a Tag must be completed for reliability consideration before

implementation of the transaction."

P801	"The NERC glossary definition of interchange authority indicates that it is

intended to provide essentially a quality control function in verifying and

approving interchange schedules and communicating that information. ….The

new interchange authority function allows an entity other than a balancing

authority to perform this function in the future; the pre-existing INT-001-1

Reliability Standard identified the balancing authority as the responsible entity to

perform this function. Any such entity should be registered by the ERO in the

ERO compliance registry, so that the responsibility of an entity, other than a

balancing authority, that takes on this role in the future would be clear."

P840	"INT-004-1 seeks to ensure that dynamic transfers are adequately tagged to be

able to determine their reliability impact. It requires the sink balancing authority,

i.e., the balancing authority responsible for the area where the load or end-user is

located, to communicate any change in the transaction. It also requires the

updating of Tags for dynamic schedules."

P843	"As explained in the NOPR, while the Commission has identified concerns with

regard to INT-004-1, this proposed Reliability Standard serves an important

purpose by setting thresholds on changes in dynamic schedules for which

modified interchange data must be submitted. Further, the Requirements set

forth in INT-004-1 are sufficiently clear and objective to provide guidance for

compliance. Accordingly, the Commission approves Reliability Standard

INT-004-1 as mandatory and enforceable."

Order 713

http://www.nerc.com/files/Order_713_Modified-INT_and_TLR-Stds-07212008.pdf

P9	"….NERC stated that the modifications to INT-001-3 and INT-004-2 eliminate

waivers requested in 2002 under the voluntary Reliability Standards regime for

entities in the WECC region...."

Order 713

http://www.nerc.com/files/Order_713_Modified-INT_and_TLR-Stds-07212008.pdf

P54	"In its December 26, 2007 filing, NERC stated that, by rescinding the e-tagging

waivers, NERC maintains uniformity and makes no structural changes to the

requirements in the current Commission-approved version of the Reliability

Standards."

INT-004-2 Questions

Question: Have you ever determined the deviation, regardless of magnitude, to be a

reliability concern and did you notify the Purchasing-Selling Entity of that determination

and the reasons?

Response: (Registered Entity Response Required)

Enter Response Here:

Question: As a PSE, are you responsible for tagging Dynamic Interchange Schedules?  If

so, describe how you process tags for the next available scheduling hour and future hours?

Response: (Registered Entity Response Required)

Enter Response Here:

Other - the list of questions above is not all inclusive of evidence required to show

compliance with the Reliability Standard.  Provide additional information here.

Response: (Registered Entity Response Required)

Enter Response Here:

INT-004-2 – Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

Evidence References (applicable documents), Page & Section, Date & Version

1.

2.

3.

R1. - Language from Reliability Standard      VRF - LOWER

At such time as the reliability event allows for the reloading of the transaction, the entity

that initiated the curtailment shall release the limit on the Interchange Transaction tag to

allow reloading the transaction and shall communicate the release of the limit to the Sink

Balancing Authority.

Applicable To:

BA	PSE	RC	TOP

2009 Compliance Monitoring Methods identified for: INT-004-2 R1.:

Self Reporting

Exception Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-004-2 R1.

This section must be completed by the Compliance Enforcement Authority.

___	Determine if the entity initiated a curtailment on a transaction due to a reliability event

___	If yes, continue, if no, N/A

___	Determine if a reliability event allowed for the reload of transactions

___	If yes

___	Determine if the entity released the limit on the Interchange Transaction tag to allow

reloading the transaction.

___	Determine if the entity communicated the release of the limit to the Sink Balancing

Authority

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-004-2 R1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2. - Language from Reliability Standard      VRF - LOWER

The Purchasing-Selling Entity responsible for tagging a Dynamic Interchange Schedule

shall ensure the tag is updated for the next available scheduling hour and future hours

when any one of the following occurs:

Applicable To:

PSE

2009 Compliance Monitoring Methods identified for: INT-004-2 R2.:

Self Reporting

Exception Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-004-2 R2.

This section must be completed by the Compliance Enforcement Authority.

___	Determine if one or more of the following occurred:

___	If yes:

___	Determine if the Purchasing-Selling Entity responsible for tagging a Dynamic Interchange

Schedule updated the tag for the next available scheduling hour and future hours.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-004-2 R2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.1. - Language from Reliability Standard      VRF - LOWER

The average energy profile in an hour is greater than 250 MW and in that hour the actual

hourly integrated energy deviates from the hourly average energy profile indicated on the

tag by more than +or- 10%.

Applicable To:

PSE

2009 Compliance Monitoring Methods identified for: INT-004-2 R2.1.:

Self Reporting

Exception Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-004-2 R2.1.

This section must be completed by the Compliance Enforcement Authority.

___	The average energy profile in an hour is greater than 250 MW and in that hour the actual

hourly integrated energy deviates from the hourly average energy profile indicated on the

tag by more than +10%.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-004-2 R2.1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.2. - Language from Reliability Standard      VRF - LOWER

The average energy profile in an hour is less than or equal to 250 MW and in that hour

the actual hourly integrated energy deviates from the hourly average energy profile

indicated on the tag by more than +or- 25 megawatt-hours.

Applicable To:

PSE

2009 Compliance Monitoring Methods identified for: INT-004-2 R2.2.:

Self Reporting

Exception Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-004-2 R2.2.

This section must be completed by the Compliance Enforcement Authority.

___	The average energy profile in an hour is less than or equal to 250 MW and in that hour the

actual hourly integrated energy deviates from the hourly average energy profile indicated

on the tag by more than +25 megawatt-hours.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-004-2 R2.2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.3. - Language from Reliability Standard      VRF - LOWER

A Reliability Coordinator or Transmission Operator determines the deviation, regardless

of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that

determination and the reasons.

Applicable To:

PSE

2009 Compliance Monitoring Methods identified for: INT-004-2 R2.3.:

Self Reporting

Exception Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-004-2 R2.3.

This section must be completed by the Compliance Enforcement Authority.

___	A Reliability Coordinator or Transmission Operator determines the deviation, regardless

of magnitude, to be a reliability concern and notifies the Purchasing-Selling Entity of that

determination and the reasons.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-004-2 R2.3. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.3. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

Compliance Finding Summary for INT-004-2

This section must be completed by the Compliance Enforcement Authority.

Violation Severity Level

Requirement	VRF	Violation 	Level 1	Level 2	Level 3	Level 4	Not

Findings?	(Lower)	(Moderate)	(High)	(Severe)	Specified

R1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.3.	LOWER	Yes or No	_____	_____	_____	_____	_____

Reliability Impact statement: One statement per possible violation

Closing Presentation Points to include in the Compliance Assessment Exit

Briefing





Method of Compliance Assessment:

[spot check, compliance audit, compliance violation investigation, etc.]

Compliance Assessment Team Leader:

Compliance Assessment team members that reviewed the Reliability Standard:

Registered Entity personnel interviewed:

Interview questions:

Appendix 2

Registered Entity responses to this Questionnaire and Reliability Standard

Audit Worksheet must be verified under oath.  Execute the form on the

following page.

[Compliance Enforcement Authority acronym, Registered Entity, NCR Number, assessment date

[yyyy-mm-dd]]

Registered Entity Name: _______________________

County of 	_________________		)

City of 	_________________		)

VERIFICATION

[NAME] being first duly sworn, states that [he/she] is [TITLE],[REGISTERD ENTITY];

AND THAT [he/she] is authorized to execute this Affidavit; that [he/she] is familiar with the

[REGISTERD ENTITY]’s response to the questionnaire and Reliability Standard Audit Worksheet

(RSAW) issued by the North American Electric Reliability Corporation and/or the respective

Regional Entity(ies); that, to the best of [his/her] information, knowledge and belief, the statements

and supporting documents included in this response and appended to this verification are true and

correct as of the date of signing and will be updated on a continuing basis until final resolution of

the compliance assessment (such as, compliance violation investigation or audit), including final

resolution with respect to any alleged violation(s) of reliability standard(s) at issue.

[SIGNATURE]

[NAME]

[TITLE]

[REGISTERED ENTITY]

Subscribed and sworn to before me on the [DAY] day of [MONTH][YEAR].

[SIGNATURE]

Notary Public

My Commission Expires:

____________________