Pre-Audit Questionnaire and

Reliability Standard Audit Worksheet

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Compliance Assessment Method(s):	Complaint, Self Reporting, and

Compliance Violation Investigation

Applicable Function(s):	All

Registered Entity responses to this Questionnaire and Reliability Standard Audit

Worksheet must be verified under oath.  NERC has included a form of verification

suitable for execution in the Appendix.

Disclaimer

NERC developed the Reliability Standard Audit Worksheet (RSAW) language to add

clarity and consistency to the Compliance Enforcement Authority’s assessment of

compliance with this Reliability Standard.  Additional detail included in the RSAW

language provides the methodology that NERC has elected to use to assess requirements

and should not be considered additional Reliability Standard requirements.  NERC

Reliability Standards are updated frequently.  Please note that the NERC RSAW language

contained within this document, provides a non-exclusive list, for informational purposes

only, of the examples of evidence a registered entity may produce and adherence to the

examples contained within the RSAW language does not necessarily constitute

compliance with the applicable Reliability Standard Requirements.

The NERC RSAW language is written to specific versions of each NERC Reliability

Standard.  RSAW language users should choose the applicable RSAW language version

of the NERC Reliability Standard being assessed.  It is the responsibility of the registered

entity to verify its compliance with the latest approved version of the Reliability Standards

applicable to its registration.  The latest version of the Reliability Standards is posted on

the NERC website.

<http://www.nerc.com/page.php?cid=2|20>

This document includes excerpts from FERC Orders and other regulatory references.

Order cites are provided for ease of reference only and do not necessarily include all

applicable Order provisions.  The text of the Order prevails.

INT-010-1 - Interchange Coordination Exemptions

Purpose:

Allow certain types of Interchange schedules to be initiated or modified by reliability

entities, and to be exempt from compliance with other Interchange Standards under

abnormal operating conditions.

Applicability:

Balancing Authority

Reliability Coordinator

NERC BOT Approval Date: 5/2/2006

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.

Include the person's title, organization, phone number and the requirement(s).  The

personnel listed must be available during the compliance audit.  Should there be a conflict

in scheduling the appropriate individuals, please notify the audit team lead.

Response: (Registered Entity Response Required)

SME Name(s), Title, Organization, Phone, Email, Requirement(s)

1.

2.

3.

Excerpts from Regulatory Authority Orders

(Reference Information)

Order 693

http://www.nerc.com/files/order_693.pdf

P876	"INT-010-1 allows reliability entities to initiate or modify certain types of

interchange schedules under abnormal operating conditions and to be exempt

from compliance with other INT Reliability Standards..”

P877	“The Commission explained in the NOPR that Reliability Standard INT-010-1

includes provisions that allow modification to an existing interchange schedule

or submission of a new interchange schedule that is directed by a reliability

coordinator to address current or imminent reliability-related reasons.  The

Commission interpreted these current or imminent reliability-related reasons as

not including actual IROL violations, since they require immediate action so that

the system can be returned to a secure operating state as soon as possible and no

longer than 30 minutes after a reliability-related system interruption – a period

that is much shorter than the time that is expected to be required for new or

modified transactions to be implemented.”

P885	"…The Commission believes that making a modification to an existing

interchange schedule on paper for current or imminent reliability-related

situations involving actual IROL violations is ineffective because its

implementation usually takes much longer than the 30 minutes period that is

allowed in the relevant IRO or TOP Reliability Standards.  However, the

Commission interprets INT-010-1 as allowing the actual physical transaction to

be modified to alleviate an IROL event without first documenting the

modification.  The interchange schedule would then be modified after the fact to

document the physical actions taken.”

INT-010-1 Questions

Question: Describe your process for a new Arranged Interchange as directed by the

Reliability Coordinator no more than 60 minutes after the initiation of the event.

Response: (Registered Entity Response Required)

Enter Response Here:

Question: Describe your process to modify an existing Interchange as directed by the

Reliability Coordinator no more than 60 minutes after the initiation of the event.

Response: (Registered Entity Response Required)

Enter Response Here:

Question: Describe your process to request Arranged interchange no more than 60

minutes beyond the resource loss.

Response: (Registered Entity Response Required)

Enter Response Here:

Other - the list of questions above is not all inclusive of evidence required to show

compliance with the Reliability Standard.  Provide additional information here.

Response: (Registered Entity Response Required)

Enter Response Here:

INT-010-1 – Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

Evidence References (applicable documents), Page & Section, Date & Version

1.

2.

3.

R1. - Language from Reliability Standard      VRF - LOWER

The Balancing Authority that experiences a loss of resources covered by an energy

sharing agreement shall ensure that a request for an Arranged Interchange is submitted

with a start time no more than 60 minutes beyond the resource loss. If the use of the

energy sharing agreement does not exceed 60 minutes from the time of the resource loss,

no request for Arranged Interchange is required.

Applicable To:

BA

2009 Compliance Monitoring Methods identified for: INT-010-1 R1.:

Self Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-010-1 R1.

This section must be completed by the Compliance Enforcement Authority.

___	Verify that if the BA experienced a loss of resources covered by an energy sharing

agreement, that it ensured that a request for an Arranged Interchange was submitted with

a start time no more than 60 minutes beyond the resource loss.

Note:  If the use of the energy sharing agreement does not exceed 60 minutes from the

time of the resource loss, no request for Arranged Interchange is required.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-010-1 R1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2. - Language from Reliability Standard      VRF - LOWER

For a modification to an existing Interchange schedule that is directed by a Reliability

Coordinator for current or imminent reliability-related reasons, the Reliability

Coordinator shall direct a Balancing Authority to submit the modified Arranged

Interchange reflecting that modification within 60 minutes of the initiation of the event.

Applicable To:

RC

2009 Compliance Monitoring Methods identified for: INT-010-1 R2.:

Self Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-010-1 R2.

This section must be completed by the Compliance Enforcement Authority.

___	Verify that if an existing Interchange schedule was directed to be modified by an RC for

current or imminent reliability-related reasons the RC directed the Balancing Authority to

submit the modified Arranged Interchange reflecting that modification within 60 minutes

of the initiation of the event

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-010-1 R2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R3. - Language from Reliability Standard      VRF - LOWER

For a new Interchange schedule that is directed by a Reliability Coordinator for current

or imminent reliability-related reasons, the Reliability Coordinator shall direct a

Balancing Authority to submit an Arranged Interchange reflecting that Interchange

schedule within 60 minutes of the initiation of the event.

Applicable To:

RC

2009 Compliance Monitoring Methods identified for: INT-010-1 R3.:

Self Reporting

Complaint

Compliance Violation Investigation

Compliance Assessment Approach Specific to 	INT-010-1 R3.

This section must be completed by the Compliance Enforcement Authority.

___	Verify that for a new Interchange schedule that directed to be modified by an RC for

current or imminent reliability-related reasons the RC directed the Balancing Authority to

submit the modified Arranged Interchange reflecting that modification within 60 minutes

of the initiation of the event

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

INT-010-1 R3. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R3. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

Compliance Finding Summary for INT-010-1

This section must be completed by the Compliance Enforcement Authority.

Violation Severity Level

Requirement	VRF	Violation 	Level 1	Level 2	Level 3	Level 4	Not

Findings?	(Lower)	(Moderate)	(High)	(Severe)	Specified

R1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R3.	LOWER	Yes or No	_____	_____	_____	_____	_____

Reliability Impact statement: One statement per possible violation

Closing Presentation Points to include in the Compliance Assessment Exit

Briefing





Method of Compliance Assessment:

[spot check, compliance audit, compliance violation investigation, etc.]

Compliance Assessment Team Leader:

Compliance Assessment team members that reviewed the Reliability Standard:

Registered Entity personnel interviewed:

Interview questions:

Appendix 2

Registered Entity responses to this Questionnaire and Reliability Standard

Audit Worksheet must be verified under oath.  Execute the form on the

following page.

[Compliance Enforcement Authority acronym, Registered Entity, NCR Number, assessment date

[yyyy-mm-dd]]

Registered Entity Name: _______________________

County of 	_________________		)

City of 	_________________		)

VERIFICATION

[NAME] being first duly sworn, states that [he/she] is [TITLE],[REGISTERD ENTITY];

AND THAT [he/she] is authorized to execute this Affidavit; that [he/she] is familiar with the

[REGISTERD ENTITY]’s response to the questionnaire and Reliability Standard Audit Worksheet

(RSAW) issued by the North American Electric Reliability Corporation and/or the respective

Regional Entity(ies); that, to the best of [his/her] information, knowledge and belief, the statements

and supporting documents included in this response and appended to this verification are true and

correct as of the date of signing and will be updated on a continuing basis until final resolution of

the compliance assessment (such as, compliance violation investigation or audit), including final

resolution with respect to any alleged violation(s) of reliability standard(s) at issue.

[SIGNATURE]

[NAME]

[TITLE]

[REGISTERED ENTITY]

Subscribed and sworn to before me on the [DAY] day of [MONTH][YEAR].

[SIGNATURE]

Notary Public

My Commission Expires:

____________________