Pre-Audit Questionnaire and

Reliability Standard Audit Worksheet

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Compliance Assessment Method(s):	Complaint, Self Reporting, and

Compliance Violation Investigation

Applicable Function(s):	All

Registered Entity responses to this Questionnaire and Reliability Standard Audit

Worksheet must be verified under oath.  NERC has included a form of verification

suitable for execution in the Appendix.

Disclaimer

NERC developed the Reliability Standard Audit Worksheet (RSAW) language to add

clarity and consistency to the Compliance Enforcement Authority’s assessment of

compliance with this Reliability Standard.  Additional detail included in the RSAW

language provides the methodology that NERC has elected to use to assess requirements

and should not be considered additional Reliability Standard requirements.  NERC

Reliability Standards are updated frequently.  Please note that the NERC RSAW language

contained within this document, provides a non-exclusive list, for informational purposes

only, of the examples of evidence a registered entity may produce and adherence to the

examples contained within the RSAW language does not necessarily constitute

compliance with the applicable Reliability Standard Requirements.

The NERC RSAW language is written to specific versions of each NERC Reliability

Standard.  RSAW language users should choose the applicable RSAW language version

of the NERC Reliability Standard being assessed.  It is the responsibility of the registered

entity to verify its compliance with the latest approved version of the Reliability Standards

applicable to its registration.  The latest version of the Reliability Standards is posted on

the NERC website.

<http://www.nerc.com/page.php?cid=2|20>

This document includes excerpts from FERC Orders and other regulatory references.

Order cites are provided for ease of reference only and do not necessarily include all

applicable Order provisions.  The text of the Order prevails.

MOD-006-0 - Procedures for the Use of Capacity Benefit Margin Values

Purpose:

To promote the consistent and uniform use of transmission Transfer Capability margins

calculations among transmission system users

Applicability:

Transmission Service Provider

NERC BOT Approval Date: 2/8/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.

Include the person's title, organization, phone number and the requirement(s).  The

personnel listed must be available during the compliance audit.  Should there be a conflict

in scheduling the appropriate individuals, please notify the audit team lead.

Response: (Registered Entity Response Required)

SME Name(s), Title, Organization, Phone, Email, Requirement(s)

1.

2.

3.

Excerpts from Regulatory Authority Orders

(Reference Information)

Order 693

http://www.nerc.com/files/order_693.pdf

P1006	"The Modeling, Data and Analysis group of Reliability Standards is intended to

standardize methodologies and system data needed for traditional transmission

systemoperation and expansion planning, reliability assessment and the

calculation of available transfer capability (ATC) in an open access environment.

The 23 MOD Reliability Standards may be grouped into four distinct categories.

The first category covers methodology and associated documentation, review

and validation of Total Transfer Capability (TTC), ATC, Capacity Benefit

Margin (CBM) and Transmission Reliability Margin (TRM) calculations.

(Footnote 317: MOD-001-0 through MOD-009-0.) The second category covers

steady-state and dynamics data and models.(Footnote 318: MOD-010-0 through

MOD-015-0.) The third category covers actual and forecast demand data.

(Footnote 319: MOD-016-0 through MOD-021-0.)  The fourth category covers

verification of generator real and reactive power capability. (Footnote 320:

MOD-024-1 through MOD-025-1.)"

P1011	"We reject ISO/RTO Council and ISO-NE’s request that we defer our approval

of Reliability Standards from the MOD group that incorporate references to the

13 fill-inthe-blank standards. While we understand ISO/RTO Council and

ISO-NE’s concern about cross-referencing pending Reliability Standards, the

data that is needed will be provided as described in the Common Issues section.

In the interim, compliance with the pending Reliability Standards should

continue on a voluntary basis, and the Commission considers compliance with

them a matter of good utility practice."

P1089	"The purpose of MOD-006-0 is to promote the consistent and uniform use of

transmission CBM calculations among transmission system users. MOD-006-0

requires that each transmission service provider document its procedure for the

scheduling of energy against a CBM reservation and make the procedure

available on a website accessible by the regional reliability organization, NERC

and transmission users."

P1101	"We also reiterate the direction in Order No. 890 that CBM should have a zero

value in the calculation of non-firm ATC because non-firm service may be

curtailed so that CBM can be used. CBM is reserved as part of the firm transfer

capability so that it is available when needed for energy emergencies. We

determine that each LSE should be permitted to call for use of CBM, provided

all of the other Requirements of R1.1 are met. We direct that CBM may be

implemented up to the reserved value when a LSE is facing firm load

curtailments."

Order 693

http://www.nerc.com/files/order_693.pdf

P1102	 “We adopt the NOPR proposal that CBM should be used only when the LSE’s

local generation capacity is insufficient to meet balancing Reliability Standards,

with the clarification that the local generation is that generation capacity that is

either owned or contracted for by the LSE… that just because the balancing

authority has sufficient generation does not mean that there is transmission

capacity to deliver the energy to the LSE.  The Commission finds that such a

scenario would violate existing transmission operating and transmission planning

Reliability Standards.  There is an explicit requirement in the transmission

operating standards that generation reserves must be deliverable to load. Also,

there is an explicit requirement in the transmission planning standards that all

firm load must be supplied under various system conditions with and without

contingencies. The Commission is not prescribing how these requirements

should be met.  There are a variety of approaches to do so, including adequate

transmission capability, local or dynamic generation transfers into the area or

DSM.  … our proposal does not take into account the availability of these

resources unless they are under contract with the LSE to provide this service.

We developed our NOPR proposal on the rationale derived from the CBM

concept, and believe that if there are enough resources to meet generation

reliability criteria within the balancing authority, there is no need to request

CBM”

P1104	"With regard to TAPS’s comments concerning its assumption that the

Commission would not be approving the Version 0 standards on these issues,

but would continue to address them in the OATT Reform proceeding, the

Commission finds that MOD-006-0 and MOD-007-0 do not establish CBM

values, but rather address CBM implementation and documentation. The

implementation of CBM has critical implications for the reliable operation of the

Bulk-Power System and we find that these Reliability Standards should be

mandatory and enforceable. The competitively significant issue is to assure that

there is no double-counting of CBM and to determine the magnitude of CBM

which is addressed in other Reliability Standards that the Commission has not

approved or remanded."

MOD-006-0 Questions

Question: Describe where your procedure is posted for CBM, and who has access to the

site.  Please attach a snapshot of the screen

Response: (Registered Entity Response Required)

Enter Response Here:

Question: Describe your procedure on the use of Capacity Benefit Margin, and under

what conditions it can be used. Please attach a copy of the procedure.

Response: (Registered Entity Response Required)

Enter Response Here:

Other - the list of questions above is not all inclusive of evidence required to show

compliance with the Reliability Standard.  Provide additional information here.

Response: (Registered Entity Response Required)

Enter Response Here:

MOD-006-0 – Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

Evidence References (applicable documents), Page & Section, Date & Version

1.

2.

3.

R1. - Language from Reliability Standard      VRF - LOWER

Each Transmission Service Provider shall document its procedure on the use of Capacity

Benefit Margin (CBM) (scheduling of energy against a CBM reservation).  The

procedure shall include the following three components:

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-006-0 R1.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-006-0 R1.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the TSP has documented its procedure for the use of CBM.

___	Verify the TSP procedures have the following three components

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-006-0 R1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R1.1. - Language from Reliability Standard      VRF - LOWER

Require that CBM be used only after the following steps have been taken (as time

permits): all non-firm sales have been terminated, Direct-Control Load Management has

been implemented, and customer interruptible demands have been interrupted.  CBM

may be used to reestablish Operating Reserves.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-006-0 R1.1.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-006-0 R1.1.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the procedure requires that CBM be used only after the following steps have been

taken (as time permits): all non-firm sales have been terminated, Direct-Control Load

Management has been implemented, and customer interruptible demands have been

interrupted.

Note:  CBM may be used to reestablish Operating Reserves.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-006-0 R1.1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1.1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R1.2. - Language from Reliability Standard      VRF - LOWER

Require that CBM shall only be used if the Load-Serving Entity calling for its use is

experiencing a generation deficiency and its Transmission Service Provider is also

experiencing Transmission Constraints relative to imports of energy on its transmission

system.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-006-0 R1.2.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-006-0 R1.2.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the procedure requires that CBM shall only be used if the Load-Serving Entity

calling for its use is experiencing a generation deficiency and its Transmission Service

Provider is also experiencing Transmission Constraints relative to imports of energy on its

transmission system.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-006-0 R1.2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1.2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R1.3. - Language from Reliability Standard      VRF - LOWER

Describe the conditions under which CBM may be available as Non-Firm Transmission

Service.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-006-0 R1.3.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-006-0 R1.3.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the procedure describes the conditions under which CBM may be available as

Non-Firm Transmission Service.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-006-0 R1.3. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1.3. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2. - Language from Reliability Standard      VRF - LOWER

Each Transmission Service Provider shall make its CBM use procedure available on a

web site accessible by the Regional Reliability Organizations, NERC, and transmission

users.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-006-0 R2.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-006-0 R2.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the TSP has made its CBM procedure available on a website that is accessible by:

Regional Reliability Organization

NERC

Transmission users

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-006-0 R2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

Compliance Finding Summary for MOD-006-0

This section must be completed by the Compliance Enforcement Authority.

Violation Severity Level

Requirement	VRF	Violation 	Level 1	Level 2	Level 3	Level 4	Not

Findings?	(Lower)	(Moderate)	(High)	(Severe)	Specified

R1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R1.1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R1.2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R1.3.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.	LOWER	Yes or No	_____	_____	_____	_____	_____

Reliability Impact statement: One statement per possible violation

Closing Presentation Points to include in the Compliance Assessment Exit

Briefing





Method of Compliance Assessment:

[spot check, compliance audit, compliance violation investigation, etc.]

Compliance Assessment Team Leader:

Compliance Assessment team members that reviewed the Reliability Standard:

Registered Entity personnel interviewed:

Interview questions:

Appendix 2

Registered Entity responses to this Questionnaire and Reliability Standard

Audit Worksheet must be verified under oath.  Execute the form on the

following page.

[Compliance Enforcement Authority acronym, Registered Entity, NCR Number, assessment date

[yyyy-mm-dd]]

Registered Entity Name: _______________________

County of 	_________________		)

City of 	_________________		)

VERIFICATION

[NAME] being first duly sworn, states that [he/she] is [TITLE],[REGISTERD ENTITY];

AND THAT [he/she] is authorized to execute this Affidavit; that [he/she] is familiar with the

[REGISTERD ENTITY]’s response to the questionnaire and Reliability Standard Audit Worksheet

(RSAW) issued by the North American Electric Reliability Corporation and/or the respective

Regional Entity(ies); that, to the best of [his/her] information, knowledge and belief, the statements

and supporting documents included in this response and appended to this verification are true and

correct as of the date of signing and will be updated on a continuing basis until final resolution of

the compliance assessment (such as, compliance violation investigation or audit), including final

resolution with respect to any alleged violation(s) of reliability standard(s) at issue.

[SIGNATURE]

[NAME]

[TITLE]

[REGISTERED ENTITY]

Subscribed and sworn to before me on the [DAY] day of [MONTH][YEAR].

[SIGNATURE]

Notary Public

My Commission Expires:

____________________