Pre-Audit Questionnaire and

Reliability Standard Audit Worksheet

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Compliance Assessment Method(s):	Complaint, Self Reporting, and

Compliance Violation Investigation

Applicable Function(s):	All

Registered Entity responses to this Questionnaire and Reliability Standard Audit

Worksheet must be verified under oath.  NERC has included a form of verification

suitable for execution in the Appendix.

Disclaimer

NERC developed the Reliability Standard Audit Worksheet (RSAW) language to add

clarity and consistency to the Compliance Enforcement Authority’s assessment of

compliance with this Reliability Standard.  Additional detail included in the RSAW

language provides the methodology that NERC has elected to use to assess requirements

and should not be considered additional Reliability Standard requirements.  NERC

Reliability Standards are updated frequently.  Please note that the NERC RSAW language

contained within this document, provides a non-exclusive list, for informational purposes

only, of the examples of evidence a registered entity may produce and adherence to the

examples contained within the RSAW language does not necessarily constitute

compliance with the applicable Reliability Standard Requirements.

The NERC RSAW language is written to specific versions of each NERC Reliability

Standard.  RSAW language users should choose the applicable RSAW language version

of the NERC Reliability Standard being assessed.  It is the responsibility of the registered

entity to verify its compliance with the latest approved version of the Reliability Standards

applicable to its registration.  The latest version of the Reliability Standards is posted on

the NERC website.

<http://www.nerc.com/page.php?cid=2|20>

This document includes excerpts from FERC Orders and other regulatory references.

Order cites are provided for ease of reference only and do not necessarily include all

applicable Order provisions.  The text of the Order prevails.

MOD-007-0 - Documentation of the Use of Capacity Benefit Margin

Purpose:

To promote the consistent and uniform application of Transfer Capability margin

calculations among transmission system users by developing methodologies for calculating

Capacity Benefit Margin (CBM). This methodology shall comply with NERC definitions

for CBM, the NERC Reliability Standards, and applicable Regional criteria.

Applicability:

Transmission Service Provider

NERC BOT Approval Date: 2/8/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.

Include the person's title, organization, phone number and the requirement(s).  The

personnel listed must be available during the compliance audit.  Should there be a conflict

in scheduling the appropriate individuals, please notify the audit team lead.

Response: (Registered Entity Response Required)

SME Name(s), Title, Organization, Phone, Email, Requirement(s)

1.

2.

3.

Excerpts from Regulatory Authority Orders

(Reference Information)

Order 693

http://www.nerc.com/files/order_693.pdf

P1006	"The Modeling, Data and Analysis group of Reliability Standards is intended to

standardize methodologies and system data needed for traditional transmission

systemoperation and expansion planning, reliability assessment and the

calculation of available transfer capability (ATC) in an open access environment.

The 23 MOD Reliability Standards may be grouped into four distinct categories.

The first category covers methodology and associated documentation, review

and validation of Total Transfer Capability (TTC), ATC, Capacity Benefit

Margin (CBM) and Transmission Reliability Margin (TRM) calculations.

(Footnote 317: MOD-001-0 through MOD-009-0.) The second category covers

steady-state and dynamics data and models.(Footnote 318: MOD-010-0 through

MOD-015-0.) The third category covers actual and forecast demand data.

(Footnote 319: MOD-016-0 through MOD-021-0.)  The fourth category covers

verification of generator real and reactive power capability. (Footnote 320:

MOD-024-1 through MOD-025-1.)"

P1011	"We reject ISO/RTO Council and ISO-NE’s request that we defer our approval

of Reliability Standards from the MOD group that incorporate references to the

13 fill-inthe-blank standards. While we understand ISO/RTO Council and

ISO-NE’s concern about cross-referencing pending Reliability Standards, the

data that is needed will be provided as described in the Common Issues section.

In the interim, compliance with the pending Reliability Standards should

continue on a voluntary basis, and the Commission considers compliance with

them a matter of good utility practice."

P1106	“MOD-007-0 requires transmission service providers that use CBM to report

and post its use.”

P1108	“…Under NERC’s Functional Model, the balancing authority is the entity that

would schedule energy over transmission capacity reserved as CBM.  Moreover,

it is the balancing authority that would know the information necessary to report

an incident during which the balancing authority had to import energy from

outside the balancing authority’s own area from a resource designated as

operating reserves and change the net scheduled interchange with the

neighboring balancing authorities to allow the energy to flow into the balancing

authority’s area."

P1110	“…The current CBM definition in the NERC glossary determines when a LSE is

a CBM user.  The LSE determines how much CBM will be set aside, when

CBM use will start and when it will end.  The LSE must therefore comply with

the standard requirements that require reporting and posting of CBM use…”

MOD-007-0 Questions

Question: (If applicable) Describe where your CBM is posted after an energy emergency,

and who has access to the site.  Please attach a snapshot of the screen

Response: (Registered Entity Response Required)

Enter Response Here:

Question: Describe your documentation methodology on the use of Capacity Benefit

Margin.

Response: (Registered Entity Response Required)

Enter Response Here:

Other - the list of questions above is not all inclusive of evidence required to show

compliance with the Reliability Standard.  Provide additional information here.

Response: (Registered Entity Response Required)

Enter Response Here:

MOD-007-0 – Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

Evidence References (applicable documents), Page & Section, Date & Version

1.

2.

3.

R1. - Language from Reliability Standard      VRF - LOWER

Each Transmission Service Provider that uses CBM shall report (to the Regional

Reliability Organization, NERC and the transmission users) the use of CBM by the

Load-Serving Entities’ Loads on its system, except for CBM sales as Non-Firm

Transmission Service. (This use of CBM shall be consistent with the Transmission

Service Provider’s procedure for use of CBM.)

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-007-0 R1.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-007-0 R1.

This section must be completed by the Compliance Enforcement Authority.

___	Verify that if a TSP uses CBM, it has reported to the RRO, NERC and the transmission

users the use of CBM by the Load-Serving Entities’ Loads on its system, except for CBM

sales as Non-Firm Transmission Service.

___	Verify the use of the CBM is consistent with the Transmission Service Provider’s

procedure for use of CBM.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-007-0 R1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2. - Language from Reliability Standard      VRF - LOWER

The Transmission Service Provider shall post the following three items within 15

calendar days after the use of CBM for an Energy Emergency.  This posting shall be on a

web site accessible by the Regional Reliability Organizations, NERC, and transmission

users.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-007-0 R2.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-007-0 R2.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the TSP has posted the following three items within 15 days after the use of CBM

for an Energy Emergency

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-007-0 R2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.1. - Language from Reliability Standard      VRF - LOWER

Circumstances.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-007-0 R2.1.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-007-0 R2.1.

This section must be completed by the Compliance Enforcement Authority.

___	Circumstances.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-007-0 R2.1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.2. - Language from Reliability Standard      VRF - LOWER

Duration.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-007-0 R2.2.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-007-0 R2.2.

This section must be completed by the Compliance Enforcement Authority.

___	Duration.

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-007-0 R2.2. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.2. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

R2.3. - Language from Reliability Standard      VRF - LOWER

Amount of CBM used.

Applicable To:

TSP

2009 Compliance Monitoring Methods identified for: MOD-007-0 R2.3.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-007-0 R2.3.

This section must be completed by the Compliance Enforcement Authority.

___	Amount of CBM used.

___	Verify the information was posted on a web site accessible by the RRO, NERC, and

transmission users

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-007-0 R2.3. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R2.3. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: LOWER

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

Compliance Finding Summary for MOD-007-0

This section must be completed by the Compliance Enforcement Authority.

Violation Severity Level

Requirement	VRF	Violation 	Level 1	Level 2	Level 3	Level 4	Not

Findings?	(Lower)	(Moderate)	(High)	(Severe)	Specified

R1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.1.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.2.	LOWER	Yes or No	_____	_____	_____	_____	_____

R2.3.	LOWER	Yes or No	_____	_____	_____	_____	_____

Reliability Impact statement: One statement per possible violation

Closing Presentation Points to include in the Compliance Assessment Exit

Briefing





Method of Compliance Assessment:

[spot check, compliance audit, compliance violation investigation, etc.]

Compliance Assessment Team Leader:

Compliance Assessment team members that reviewed the Reliability Standard:

Registered Entity personnel interviewed:

Interview questions:

Appendix 2

Registered Entity responses to this Questionnaire and Reliability Standard

Audit Worksheet must be verified under oath.  Execute the form on the

following page.

[Compliance Enforcement Authority acronym, Registered Entity, NCR Number, assessment date

[yyyy-mm-dd]]

Registered Entity Name: _______________________

County of 	_________________		)

City of 	_________________		)

VERIFICATION

[NAME] being first duly sworn, states that [he/she] is [TITLE],[REGISTERD ENTITY];

AND THAT [he/she] is authorized to execute this Affidavit; that [he/she] is familiar with the

[REGISTERD ENTITY]’s response to the questionnaire and Reliability Standard Audit Worksheet

(RSAW) issued by the North American Electric Reliability Corporation and/or the respective

Regional Entity(ies); that, to the best of [his/her] information, knowledge and belief, the statements

and supporting documents included in this response and appended to this verification are true and

correct as of the date of signing and will be updated on a continuing basis until final resolution of

the compliance assessment (such as, compliance violation investigation or audit), including final

resolution with respect to any alleged violation(s) of reliability standard(s) at issue.

[SIGNATURE]

[NAME]

[TITLE]

[REGISTERED ENTITY]

Subscribed and sworn to before me on the [DAY] day of [MONTH][YEAR].

[SIGNATURE]

Notary Public

My Commission Expires:

____________________