Pre-Audit Questionnaire and

Reliability Standard Audit Worksheet

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Compliance Assessment Method(s):	Complaint, Self Reporting, and

Compliance Violation Investigation

Applicable Function(s):	All

Registered Entity responses to this Questionnaire and Reliability Standard Audit

Worksheet must be verified under oath.  NERC has included a form of verification

suitable for execution in the Appendix.

Disclaimer

NERC developed the Reliability Standard Audit Worksheet (RSAW) language to add

clarity and consistency to the Compliance Enforcement Authority’s assessment of

compliance with this Reliability Standard.  Additional detail included in the RSAW

language provides the methodology that NERC has elected to use to assess requirements

and should not be considered additional Reliability Standard requirements.  NERC

Reliability Standards are updated frequently.  Please note that the NERC RSAW language

contained within this document, provides a non-exclusive list, for informational purposes

only, of the examples of evidence a registered entity may produce and adherence to the

examples contained within the RSAW language does not necessarily constitute

compliance with the applicable Reliability Standard Requirements.

The NERC RSAW language is written to specific versions of each NERC Reliability

Standard.  RSAW language users should choose the applicable RSAW language version

of the NERC Reliability Standard being assessed.  It is the responsibility of the registered

entity to verify its compliance with the latest approved version of the Reliability Standards

applicable to its registration.  The latest version of the Reliability Standards is posted on

the NERC website.

<http://www.nerc.com/page.php?cid=2|20>

This document includes excerpts from FERC Orders and other regulatory references.

Order cites are provided for ease of reference only and do not necessarily include all

applicable Order provisions.  The text of the Order prevails.

MOD-019-0 - Forecasts of Interruptible Demands and DCLM Data

Purpose:

To ensure that assessments and validation of past events and databases can be performed,

reporting of actual demand data is needed. Forecast demand data is needed to perform

future system assessments to identify the need for system reinforcement for continued

reliability. In addition, to assist in proper real-time operating, load information related to

controllable Demand-Side Management programs is needed.

Applicability:

Load Serving Entity

Planning Authority

Resource Planner

Transmission Planner

NERC BOT Approval Date: 2/8/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.

Include the person's title, organization, phone number and the requirement(s).  The

personnel listed must be available during the compliance audit.  Should there be a conflict

in scheduling the appropriate individuals, please notify the audit team lead.

Response: (Registered Entity Response Required)

SME Name(s), Title, Organization, Phone, Email, Requirement(s)

1.

2.

3.

Excerpts from Regulatory Authority Orders

(Reference Information)

Order 693

http://www.nerc.com/files/order_693.pdf

P1006	"The Modeling, Data and Analysis group of Reliability Standards is intended to

standardize methodologies and system data needed for traditional transmission

systemoperation and expansion planning, reliability assessment and the

calculation of available transfer capability (ATC) in an open access environment.

The 23 MOD Reliability Standards may be grouped into four distinct categories.

The first category covers methodology and associated documentation, review

and validation of Total Transfer Capability (TTC), ATC, Capacity Benefit

Margin (CBM) and Transmission Reliability Margin (TRM) calculations.

(Footnote 317: MOD-001-0 through MOD-009-0.) The second category covers

steady-state and dynamics data and models.(Footnote 318: MOD-010-0 through

MOD-015-0.) The third category covers actual and forecast demand data.

(Footnote 319: MOD-016-0 through MOD-021-0.)  The fourth category covers

verification of generator real and reactive power capability. (Footnote 320:

MOD-024-1 through MOD-025-1.)"

P1011	"We reject ISO/RTO Council and ISO-NE’s request that we defer our approval

of Reliability Standards from the MOD group that incorporate references to the

13 fill-inthe-blank standards. While we understand ISO/RTO Council and

ISO-NE’s concern about cross-referencing pending Reliability Standards, the

data that is needed will be provided as described in the Common Issues section.

In the interim, compliance with the pending Reliability Standards should

continue on a voluntary basis, and the Commission considers compliance with

them a matter of good utility practice."

P1266	“The purpose of MOD-019-0 is to ensure that past and forecasted demand data

is available for past event validation and future system assessment.  The

Reliability Standard requires that LSEs, planning authorities, transmission

planners and resource planners annually provide their forecasts of interruptible

demands and direct control load management to NERC, the regional reliability

organization and other entities as specified in MOD-016-1, Requirement R1.

The data should contain the forecasts for at least five years, and up to ten years.”

Order 693

http://www.nerc.com/files/order_693.pdf

P1275	”… As an initial matter, we disagree that MOD-019-0 cannot be implemented

because it is dependent on MOD-016-0, which further depends on various

unapproved standards. As previously stated, we direct the ERO to provide a

Work Plan and compliance filing regarding the collection of information

specified under related standards that are deferred, and believe there should be

no difficulties complying with this Reliability Standard. We reiterate that ongoing

collection of data is necessary to maintain system reliability, and approval of

MOD-019-0 will help to achieve this goal. We therefore direct the ERO to use

its authority pursuant to § 39.2(d) of our regulations to require users, owners

and operators to provide to the Regional Entity information related to forecasts

of interruptible demands and direct control load management."

P1276	"...The Commission finds that controllable load can be as reliable as other

resources, and therefore should also be subject to the same reporting

requirements. Although we recognize that verifying load control devices and

interruptible loads may be complex, we do not believe that it is overly so..."

MOD-019-0 Questions

Question: Describe process to annually provide forecasts of interruptible demands and

Direct Control Load Management to the entities listed in R1

Response: (Registered Entity Response Required)

Enter Response Here:

Other - the list of questions above is not all inclusive of evidence required to show

compliance with the Reliability Standard.  Provide additional information here.

Response: (Registered Entity Response Required)

Enter Response Here:

MOD-019-0 – Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

Evidence References (applicable documents), Page & Section, Date & Version

1.

2.

3.

R1. - Language from Reliability Standard      VRF - MEDIUM

The Load-Serving Entity, Planning Authority, Transmission Planner, and Resource

Planner shall each provide annually its forecasts of interruptible demands and Direct

Control Load Management (DCLM) data for at least five years and up to ten years into

the future, as requested, for summer and winter peak system conditions to NERC, the

Regional Reliability Organizations, and other entities (Load-Serving Entities, Planning

Authorities, and Resource Planners) as specified by the documentation in Reliability

Standard MOD-016-1_R 1.

Applicable To:

LSE	PA	RP	TP

2009 Compliance Monitoring Methods identified for: MOD-019-0 R1.:

Complaint

Compliance Violation Investigation

Self Reporting

Compliance Assessment Approach Specific to 	MOD-019-0 R1.

This section must be completed by the Compliance Enforcement Authority.

___	Verify the entity provided an annual forecast of interruptible demands and Direct Control

Load Management (DCLM) data for at least five years and up to ten years into the future,

as requested, the Regional Reliability Organizations, and other entities as specified by

MOD-016-1 R1 to NERC for:

Summer Peak system conditions

Winter Peak system conditions

___	Other - the list above is not all inclusive of evidence required to show compliance with the

Reliability Standard.

MOD-019-0 R1. - Compliance Enforcement Authority Notes (detailed):

This section must be completed by the Compliance Enforcement Authority.

Template

Type detailed Compliance Enforcement Authority Notes Here:

Record Additional Evidence Reviewed During Compliance Assessment, Date and

Version

1.

2.

3.

R1. - Statement Regarding Registered Entity's Compliance

This section must be completed by the Compliance Enforcement Authority.

Violation Risk Factor: MEDIUM

Enter Violation Severity Level:	__________________

For each Possible Violation Finding, Specify the following:

Registered Function in violation:

Specify the nature of the possible violation in detail:

Specify the duration of the possible violation in detail:

Note: Provide as much detail as possible to help the enforcement staff develop

an audit finding summary for the source document in the record.

Compliance Finding Summary for MOD-019-0

This section must be completed by the Compliance Enforcement Authority.

Violation Severity Level

Requirement	VRF	Violation 	Level 1	Level 2	Level 3	Level 4	Not

Findings?	(Lower)	(Moderate)	(High)	(Severe)	Specified

R1.	MEDIUM	Yes or No	_____	_____	_____	_____	_____

Reliability Impact statement: One statement per possible violation

Closing Presentation Points to include in the Compliance Assessment Exit

Briefing





Method of Compliance Assessment:

[spot check, compliance audit, compliance violation investigation, etc.]

Compliance Assessment Team Leader:

Compliance Assessment team members that reviewed the Reliability Standard:

Registered Entity personnel interviewed:

Interview questions:

Appendix 2

Registered Entity responses to this Questionnaire and Reliability Standard

Audit Worksheet must be verified under oath.  Execute the form on the

following page.

[Compliance Enforcement Authority acronym, Registered Entity, NCR Number, assessment date

[yyyy-mm-dd]]

Registered Entity Name: _______________________

County of 	_________________		)

City of 	_________________		)

VERIFICATION

[NAME] being first duly sworn, states that [he/she] is [TITLE],[REGISTERD ENTITY];

AND THAT [he/she] is authorized to execute this Affidavit; that [he/she] is familiar with the

[REGISTERD ENTITY]’s response to the questionnaire and Reliability Standard Audit Worksheet

(RSAW) issued by the North American Electric Reliability Corporation and/or the respective

Regional Entity(ies); that, to the best of [his/her] information, knowledge and belief, the statements

and supporting documents included in this response and appended to this verification are true and

correct as of the date of signing and will be updated on a continuing basis until final resolution of

the compliance assessment (such as, compliance violation investigation or audit), including final

resolution with respect to any alleged violation(s) of reliability standard(s) at issue.

[SIGNATURE]

[NAME]

[TITLE]

[REGISTERED ENTITY]

Subscribed and sworn to before me on the [DAY] day of [MONTH][YEAR].

[SIGNATURE]

Notary Public

My Commission Expires:

____________________