## Instructions
Enter the entity's NCR number for this submission ==> |  |  | NCR10098 | Please fill out a separate row for each make (Manufacturer and Model) of inverter . Add entries in Blue shaded areas only
(1) Manufacturer | (2) Model Number | (3) Nameplate MW Rating | (4) Quantity | (5) Is this make of solar inverter currently susceptible to erroneous frequency calculations as described in the report? (Yes, No, Not Applicable) | (6) If you answered “Yes” to (5), have you reviewed and implemented manufacturer recommendations to this inverter's control settings to ensure that the inverter will not trip due to an erroneous frequency measurement during transients on the power system? (Yes, No, Not Applicable) | (7) Does this inverter momentarily cease output during abnormal voltages on the power system? (Yes, No, Not Applicable) | (8a) If you answered "No" to (7), are you regulating to a voltage schedule? (Yes, No, Not Applicable) | (8b) If you answered "No" to (7), are you regulating to a VAR schedule? (Yes, No, Not Applicable) | (9a) If you answered "Yes" to (7), at what lower voltage level (pu) does momentary cessation occur? | (9b) If you answered "Yes" to (7), at what upper voltage level (pu) does momentary cessation occur? | (9c) If you answered "Yes" to (7), what is the maximum delay (in seconds) for this inverter to resume previous output levels (after voltage has returned to normal) | (9ci) If your answer to (9c) is greater than 5 seconds, can this inverter's settings be changed to make the maximum delay no greater than 5 seconds? | (9ci1) If you answered "Yes" to (9ci), have you made the recommended changes to this inverter's settings to ensure that the maximum delay to return to current injection is no greater than 5 seconds following system conditions requiring momentary cessation? (including any delay and ramp rate) (Yes, No, Not Applicable) | 10. Have you provided your response to the questions in this alert to your Reliability Coordinator, Balancing Authority, and Transmission Operator? (Yes, No, Planned)
JBI | XYZ1234 | 20 | 1 | No | Not Applicable | Yes | Yes | No | na | na | na | Not Applicable | Not Applicable | Planned
DER | QQQ555 | 30 | 6 | Yes | No | Yes | Not Applicable | Not Applicable | na | na | na | Yes | No | No
PAG | GTA3155 | 10 | 3 | Not Applicable | Yes | Not Applicable | No | Yes | na | na | na | Not Applicable | Not Applicable | No
ABC | 123456 | 20 | 4 | Yes | Yes | Yes | Not Applicable | Not Applicable | na | na | na | Yes | Yes | Yes
Enter in this column the name of the inverter's manufacturer, and remember to use a separate line for each make (Manufacturer and Model Number) | Enter the model number for this make, aligning with the manufacturer from (1) | Enter the nameplate rating in MW for this make of Inverter | Enter the quantity of inverters of this make owned or operated by your entity. If you are making submission for multiple entities, please make sure this submission is for only this entity/NCR number | Review report information regarding erroneous frequency calculations and select answer from drop-down box and answer "Yes" if the make of the inverter is susceptible to erroneous frequency calculations | If you answered "No" or Not Applicable" to (5), answer "No" or "Not Applicable" for this question as well. If your answer to (5) is "Yes" then select the appropriate answer as to whether the manufacturer recommendations have been reviewed and implemented | Select the appropriate drop-down box answer for whether this make of inverter momentarily ceases output during abnormal voltage conditions | Select the appropriate drop-down box indicating whether this device is regulating to a voltage or VAR schedule, if the answer to (7) is "No" - otherwise, answer "Not Applicable" | Select the appropriate drop-down box indicating whether this device is regulating to a voltage or VAR schedule, if the answer to (7) is "No" - otherwise, answer "Not Applicable" | Provide on a p.u. basis the lower voltage level at which the momentary cessation occurs, if the momentary cessation is a characteristic of this inverter. Otherwise, enter "na" | Provide on a p.u. basis the upper voltage level at which the momentary cessation occurs, if the momentary cessation is a characteristic of this inverter. Otherwise, enter "na" | Enter the maximum duration, in seconds, for the cessation referenced in (7), if the momentary cessation is a characteristic of this inverter. Otherwise, enter "na" | Review your answer in (9c) and based on whether the number of seconds is greater than 5 seconds, determine if the inverter's control settings can be changed to reduce the maximum delay to 5 seconds. If the control settings cannot be changed, choose "No" from the drop-down box. If you chose "na" for (10), choose "Not Applicable" from the drop-down box | If your answer to (9ci) is "Yes" then use the drop-down box to inform if you have made the recommended changes to the inverter settings to ensure the delay referenced in (9c) is 5 seconds or less. | If you have provided your response to this Alert to your RC, BA, or TO, choose "Yes." If you have not done so, but are planning to, choose "Planned." Otherwise, choose "No"

## Data Submission
Enter the entity's NCR number for this submission ==> |  |  |  | Please fill out a separate row for each make (Manufacturer and Model) of inverter (See "Instructions" tab for more details) . Add entries in Blue shaded areas only
(1) Manufacturer | (2) Model Number | (3) Nameplate MW Rating | (4) Quantity | (5) Is this make of solar inverter currently susceptible to erroneous frequency calculations as described in the report? (Yes, No, Not Applicable) | (6) If you answered “Yes” to (5), have you reviewed and implemented manufacturer recommendations to this inverter's control settings to ensure that the inverter will not trip due to an erroneous frequency measurement during transients on the power system? (Yes, No, Not Applicable) | (7) Does this inverter momentarily cease output during abnormal voltages on the power system? (Yes, No, Not Applicable) | (8a) If you answered "No" to (7), are you regulating to a voltage schedule? (Yes, No, Not Applicable) | (8b) If you answered "No" to (7), are you regulating to a VAR schedule? (Yes, No, Not Applicable) | (9a) If you answered "Yes" to (7), at what lower voltage level (pu) does momentary cessation occur? | (9b) If you answered "Yes" to (7), at what upper voltage level (pu) does momentary cessation occur? | (9c) If you answered "Yes" to (7), what is the maximum delay (in seconds) for this inverter to resume previous output levels (after voltage has returned to normal) | (9ci) If your answer to (9c) is greater than 5 seconds, can this inverter's settings be changed to make the maximum delay no greater than 5 seconds? | (9ci1) If you answered "Yes" to (9ci), have you made the recommended changes to this inverter's settings to ensure that the maximum delay to return to current injection is no greater than 5 seconds following system conditions requiring momentary cessation? (including any delay and ramp rate) (Yes, No, Not Applicable) | 10. Have you provided your response to the questions in this alert to your Reliability Coordinator, Balancing Authority, and Transmission Operator? (Yes, No, Planned)