## 3.1 OBSOLAC & DC Ckt Inven. (hidden)
Form 3.1 AC and DC Circuit Inventory Data |  |  |  |  | Data is not Confidential |  |  | Answers
| Transmission Owner | 1. Do any of the Multi-Circuit Structure Miles contain circuits on the common structures that are reported by you and another Transmission Owner(s)? | [5 empty] | No
| Coordination Questions | 2. If the answer to question 1 is "yes," have you and the other Transmission Owner(s) coordinated your reporting to insure that no double counting of Multi-Circuit Structure Miles are being reported for the circuits on these structures? | [5 empty] | Not applicable
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | AC Circuit Voltages are phase-to-phase. DC Circuit Voltages are phase-to-return.
[3] | See examples in the TADS Data Reporting Instruction Manual.
[4] | Mixed TADS voltages (e.g., 230 kV and 345 kV) on common structures.
AC and DC Circuit Inventory Data
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
Row No. | Voltage Class [2] | No. of Circuits (End-of-Year) | Circuit Miles (End-of-Year) | No. of Circuits Added | Equivalent Annual No. of Circuits Added [3] | No. of Circuit Miles for Circuits Added | Equivalent Annual No. of Circuit Miles for Circuits Added [3] | No. of Circuits Removed | Equivalent Annual No. of Circuits Removed [3] | No. of Circuit Miles for Circuits Removed | Equivalent Annual No. of Circuit Miles for Circuits Removed [3] | CALCULATED Annual Equivalent No. of Circuits = B-D+E+I | CALCULATED Annual Equivalent No. of Circuit Miles = C-F+G+K
1 | 200-299 kV AC Overhead | [10 empty] | 0 | 0
2 | 300-399 kV AC Overhead | [10 empty] | 0 | 0
3 | 400-599 kV AC Overhead | [10 empty] | 0 | 0
4 | 600-799 kV AC Overhead | [10 empty] | 0 | 0
5 | 200-299 kV AC Underground | [10 empty] | 0 | 0
6 | 300-399 kV AC Underground | [10 empty] | 0 | 0
7 | 400-599 kV AC Underground | [10 empty] | 0 | 0
8 | 600-799 kV AC Underground | [10 empty] | 0 | 0
9 | 200-299 kV DC Overhead | [10 empty] | 0 | 0
10 | 300-399 kV DC Overhead | [10 empty] | 0 | 0
11 | 400-499 kV DC Overhead | [10 empty] | 0 | 0
12 | 500-599 kV DC Overhead | [10 empty] | 0 | 0
13 | 600-799 kV DC Overhead | [10 empty] | 0 | 0
14 | 200-299 kV DC Underground | [10 empty] | 0 | 0
15 | 300-399 kV DC Underground | [10 empty] | 0 | 0
16 | 400-499 kV DC Underground | [10 empty] | 0 | 0
17 | 500-599 kV DC Underground | [10 empty] | 0 | 0
18 | 600-799 kV DC Underground | [10 empty] | 0 | 0
AC Muliti-Circuit Structure Miles Inventory Data
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
| Voltage Class [2] |  | Multi-Circuit Structure Miles (End-of-Year) |  |  | No. of Multi-Circuit Structure Miles for Circuits Added | Equivalent Annual No. of Multi-Circuit Structure Miles for Cicuits Added [3] |  |  | No. of Multi-Circuit Structure Miles for Circuits Removed | Equivalent Annual No. of Multi-Circuit Structure Miles for Circuits Removed [3] |  | CALCULATED Annual Equivalent No. of Multi-Circuit Structure Miles = C-F+G+K
19 | 200-299 kV AC | [11 empty] | 0
20 | 300-399 kV AC | [11 empty] | 0
21 | 400-599 kV AC | [11 empty] | 0
22 | 600-799 kV AC | [11 empty] | 0
23 | Mixed Voltages [4] | [11 empty] | 0

## OBSOL3.2 Transformer Inven. (hidden)
Form 3.2 Transformer Inventory Data |  |  |  |  | Data is not Confidential
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | Report high-side phase-to-phase voltage. However, to be reported on this Form 3.2, the Transformer must have a low-side voltage that is ≥ 200 kV.
[3] | Only report transformers that are "in-service." Do not include spares.
[4] | See example in the Data Reporting Instruction Manual.
| (A) | (B) | (C) | (D) | (E) | (F) | (G)
Row No. | AC Voltage Class [2] | No. of Transformers (End-of-Year) [3] | No. of Transformers Added | Equivalent Annual No. of Transformers Added [4] | No. of Transformers Removed | Equivalent Annual No. of Transformers Removed [4] | CALCULATED Annual Equivalent No. of Transformers = B-C+D+F
1 | 200-299 kV | [5 empty] | 0
2 | 300-399 kV | [5 empty] | 0
3 | 400-599 kV | [5 empty] | 0
4 | 600-799 kV | [5 empty] | 0

## 3.1 Detailed AC & DC Ckt Inven.
Form 3.1 Detailed AC and DC Circuit Inventory Data |  |  | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | AC Circuit Voltages are phase-to-phase. DC Circuit Voltages are phase-to-return.
[3] | See examples in the TADS Data Reporting Instruction Manual.
[4] | Element Identifiers cannot be reused in any future reporting period for a different Element.
[*] | Field is mandatory, if applicable to Element.
Unique Element Identifier[4]* | Voltage Class* | Circuit Type | From Bus | To Bus | Tertiary Bus | Circuit Miles* | Number of Terminals* | Conductors Per Phase | Overhead Ground Wire | Insulator Type | Cable Type | Structure Materials | Structure Types | Circuits Per Structure | Terrain | Elevation | Change/Reconfiguration Date* | Retirement Date* | Precursor Element Identifier* | BES Exempted Flag | Comment

## 2.1 Multi AC-DC Circuits
Form 2.1 Multiple-Owner AC and DC Circuits |  |  |  | CONFIDENTIAL INFORMATION
Form 3.1 must be submitted prior to Form 2.1.
List any Multiple-Owner circuit that was in-service for at least part of the reporting period.
This form lists all the TADS AC Circuits and TADS DC Circuits that are jointly-owned. One TO must assume reporting responsibility and should be identified as the Reporting TO.
To ensure that outage data on these Elements are reported, the TO must list each jointly-owned circuit, the joint-owners and the TO that is reporting outage data on the circuit.
[*] | Field is mandatory, if applicable to Element.
TO #1 is generally the Reporting TO.
Reporting TO NCR* | Reporting TO Region* | Reporting TO SubRegion* | Reporting TO Element ID* | Joint Ownership Start Date* | Joint Ownership End Date | TO #1 NCR Number* | TO #1 Region* | TO #1 SubRegion* | TO #2 NCR Number* | TO #2 Region* | TO #2 SubRegion* | TO #3 NCR Number | TO #3 Region | TO #3 SubRegion | TO #4 NCR Number | TO #4 Region | TO #4 SubRegion | TO #5 NCR Number | TO #5 Region | TO #5 SubRegion | TO #6 NCR Number | TO #6 Region | TO #6 SubRegion | TO #7 NCR Number | TO #7 Region | TO #7 SubRegion | TO #8 NCR Number | TO #8 Region | TO #8 SubRegion | TO #9 NCR Number | TO #9 Region | TO #9 SubRegion | TO #10 NCR Number | TO #10 Region | TO #10 SubRegion

## 3.2 Detailed Transformer Inven.
Form 3.2 Transformer Inventory Data |  |  |  |  | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Transformer's High Side Voltage Class is the Transformer's Voltage Class. To be reported on this Form 3.2, the Transformer must be considered a Bulk Electric System Element.
[3] | Only report transformers that are "in-service." Do not include spares.
[4] | See example in the Data Reporting Instruction Manual.
[5] | Element Identifiers cannot be reused in any future reporting period for a different Element.
[6] | Normal, operational MVA rating should be used.
[*] | Field is mandatory, if applicable to Element.
Transformer Unique Element Identifier [4]* | Located at (AC Sub. Name)* | High Side Voltage Class [2]* | Low Side Voltage Class | Phasing | Three Phase Rating [6] | Change/Reconfiguration Date* | Retirement Date* | Precursor Element Identifier* | BES Exempted Flag | Comment

## 3.3 AC-DC BTB Con Inven.
Form 3.3 AC/DC BTB Converter Inventory Data |  |  |  | CONFIDENTIAL DATA
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | Report the highest terminal AC voltage (phase-to-phase).
[*] | Field is mandatory if applicable to Element.
AC-DC BTB Converter Unique Element Identifier* | Converter Name* | Voltage Class [2]* | Change/Reconfiguration Date* | Retirement Date* | Precursor Element* | BES Exempted Flag | Comment

## 2.2 Multi AC-DC BTB Cvtrs
Form 2.2 Multi-Owner AC/DC BTB Converters |  |  |  |  | CONFIDENTIAL INFORMATION
Form 3.3 must be submitted prior to Form 2.2.
This form lists all the TADS reportable AC/DC Back-to-Back Converters that have multiple owners. One TO must assume reporting responsibility, and that TO must be indentified in columns G and H.
To ensure that outage data on these Elements are reported, the TO must list each multiple-owner converter, the multiple owners and the TO that is reporting outage data on the converter.
[*] | Field is mandatory, if applicable to Element.
TO #1 is generally the Reporting TO.
Reporting TO NCR* | Reporting TO Region* | Reporting TO SubRegion* | Reporting TO Element ID* | AC Voltage Circuit Class (Side Two)* | Joint Ownership Start Date* | Joint Ownership End Date | TO #1 NCR Number* | TO #1 Region* | TO #1 SubRegion* | TO #2 NCR Number* | TO #2 Region* | TO #2 SubRegion* | TO #3 NCR Number | TO #3 Region | TO #3 SubRegion | TO #4 NCR Number | TO #4 Region | TO #4 SubRegion | TO #5 NCR Number | TO #5 Region | TO #5 SubRegion | TO #6 NCR Number | TO #6 Region | TO #6 SubRegion | TO #7 NCR Number | TO #7 Region | TO #7 SubRegion | TO #8 NCR Number | TO #8 Region | TO #8 SubRegion | TO #9 NCR Number | TO #9 Region | TO #9 SubRegion | TO #10 NCR Number | TO #10 Region | TO #10 SubRegion

## 3.3 OBSOLAC-DC BTB Con Inven (hidden)
Form 3.3 AC/DC BTB Converter Inventory Data |  |  |  |  | Data is not Confidential
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | Report the highest terminal AC voltage (phase-to-phase).
[3] | See example in the Data Reporting Instruction Manual.
| (A) | (B) | (C) | (D) | (E) | (F) | (G)
Row No. | Voltage Class [2] | No. of Converters (End-of-Year) | No. of Converters Added | Equivalent Annual No. of Converters Added [3] | No. of Converters Removed | Equivalent Annual No. of Converters Removed [3] | CALCULATED Annual Equivalent No. of Converters = B-C+D+F
1 | 200-299 kV | [5 empty] | 0
2 | 300-399 kV | [5 empty] | 0
3 | 400-599 kV | [5 empty] | 0
4 | 600-799 kV | [5 empty] | 0

## X.XNo. Elements w.Zero Outages (hidden)
Form 3.4 No. of Elements with Zero Outages |  |  | Data is not Confidential
Notes:
[1] | If a TO reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | AC Circuit Voltages are phase-to-phase. DC Circuit Voltages are phase-to-return.
[3] | Only consider circuits with zero outages that are "in-service" at the end of the year.
[4] | Report high-side phase-to-phase voltage. However, to be reported, the Transformer must have a low-side voltage that is ≥ 200 kV.
[5] | Only consider transformers with zero outages that are "in-service" at the end of the year. Do not includes spares.
[6] | Report the highest terminal AC voltage (phase-to-phase).
[7] | Only consider converters with zero outages that are "in-service" at the end of the year.
|  | AC & DC Circuit Automatic Outages | AC & DC Circuit Non-Automatic Outages
| (A) | (B) | (C)
Row No. | Voltage Class [2] | No. of Circuits with Zero Automatic Outages [3] | No. of Circuits with Zero Non-Automatic Outages [3]
1 | 200-299 kV AC Overhead
2 | 300-399 kV AC Overhead
3 | 400-599 kV AC Overhead
4 | 600-799 kV AC Overhead
5 | 200-299 kV AC Underground
6 | 300-399 kV AC Underground
7 | 400-599 kV AC Underground
8 | 600-799 kV AC Underground
9 | 200-299 kV DC Overhead
10 | 300-399 kV DC Overhead
11 | 400-499 kV DC Overhead
12 | 500-599 kV DC Overhead
13 | 600-799 kV DC Overhead
14 | 200-299 kV DC Underground
15 | 300-399 kV DC Underground
16 | 400-499 kV DC Underground
17 | 500-599 kV DC Underground
18 | 600-799 kV DC Underground
|  | Transformer Automatic Outages | Transformer Non-Automatic Outages
| (A) | (B) | (C)
|  | Number of Transformers with Zero Automatic Outages [5] | Number of Transformers with Zero Non-Automatic Outages [5]
Row No. | Voltage Class [4]
19 | 200-299 kV
20 | 300-399 kV
21 | 400-599 kV
22 | 600-799 kV
|  | AC/DC BTB Converters Automatic Outages | AC/DC BTB Converters Non-Automatic Outages
| (A) | (B) | (C)
|  | Number of Converters with Zero Automatic Outages [7] | Number of Converters with Zero Non-Automatic Outages [7]
Row No. | Voltage Class [6]
23 | 200-299 kV
24 | 300-399 kV
25 | 400-599 kV
26 | 600-799 kV

## 3.5 AC Multi-Ckt Struct Miles
Form 3.5 AC Multi-Circuit Structure Miles | [5 empty] | Data is not Confidential
Form 3.5 should be entered on the webPortal at: https://www.nerc.oati.com/NERC/sys-login.wml.
Please fill out for your records.
Answers
| Transmission Owner | 1. Do any of the Multi-Circuit Structure Miles contain circuits on the common structures that are reported by you and another Transmission Owner(s)? | [5 empty] | No
| Coordination Questions | 2. If the answer to question 1 is "yes," have you and the other Transmission Owner(s) coordinated your reporting to insure that no double counting of Multi-Circuit Structure Miles are being reported for the circuits on these structures? | [5 empty] | Not applicable
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | AC Circuit Voltages are phase-to-phase. DC Circuit Voltages are phase-to-return.
[3] | See examples in the TADS Data Reporting Instruction Manual.
[4] | Mixed TADS voltages (e.g., 230 kV and 345 kV) on common structures.
AC Multi-Circuit Structure Miles Inventory Data
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L) | (M)
| Voltage Class [2] |  | Multi-Circuit Structure Miles (End-of-Year) |  |  | No. of Multi-Circuit Structure Miles for Circuits Added | Equivalent Annual No. of Multi-Circuit Structure Miles for Cicuits Added [3] |  |  | No. of Multi-Circuit Structure Miles for Circuits Removed | Equivalent Annual No. of Multi-Circuit Structure Miles for Circuits Removed [3] |  | CALCULATED Annual Equivalent No. of Multi-Circuit Structure Miles = C-F+G+K
1 | 200-299 kV AC | [11 empty] | 0
2 | 300-399 kV AC | [11 empty] | 0
3 | 400-599 kV AC | [11 empty] | 0
4 | 600-799 kV AC | [11 empty] | 0
5 | Mixed Voltages [4] | [11 empty] | 0

## 3.6 Common Corridor
Form 3.6 Common Corridors | [6 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | {Reporting TO 1 Company Code} and {Reporting TO Company Code} are optional if the TO exists in only one region.
[2] | If the TOs exist in multiple regions, clearly identify the TO by providing the NERC ID and Region. Use format (NERCID ¦ Region) without the parentheses.
Common Corridor Element Identifier 1 | Reporting TO 1 | Reporting TO 1 Company Code (NERCID ¦ Region) | Common Corridor Element Identifier 2 | Reporting TO 2 | Reporting TO 2 Company Code (NERCID ¦ Region) | Common Miles | Common Corridor | BES Exempted Flag | Comments

## 4.1 AC Ckt Outage Data
Form 4.1 AC Circuit Outages | [6 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Event ID Code is defined on Form 5. If the outage is carried over from a previous year, use the Event ID Code for the original outage.
[3] | A Unique Element Identifier from an AC Circuit in Form 3.1 must be used.
[4] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year.
[5] | Report zero hours and zero minutes Outage Duration for Momentary Outages. For outages that started in a previous reporting year, enter the Outage Duration for the current reporting year only.
[6] | For Momentary Outages, enter "NA-Momentary".
[7] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
AC Circuit Momentary and Sustained Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L)
| Outage ID Code | Event ID Code [2] | TO Unique Element Identifier [3] (AC Circuit) | Fault Type | Outage Initiation Code | Start Time (mm/dd/yyyy hh:mm) [4] | Time Zone | Outage Duration hhhh:mm [5] | Initiating Cause Code | Sustained Cause Code [6] | Outage Mode | Outage Continuation Code [7]

## 4.2 DC Ckt Outage Data
Form 4.2 DC Circuit Outages | [6 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Event ID Code is defined on Form 5.
[3] | A Unique Element Identifier from a DC Circuit defined in Form 3.1 must be used.
[4] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year.
[5] | Report zero hours and zero minutes Outage Duration for Momentary Outages.
[6] | For Momentary Outages, enter "NA-Momentary"
[7] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
DC Circuit Momentary and Sustained Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L)
| Outage ID Code | Event ID Code [2] | Unique Element Identifier (DC Circuit) [3] | Fault Type | Outage Initiation Code | Start Time (mm/dd/yyyy hh:mm) [4] | Time Zone | Outage Duration hhhh:mm [5] | Initiating Cause Code | Sustained Cause Code [6] | Outage Mode | Outage Continuation Code [7]

## 4.3 Transformer Outage Data
Form 4.3 Transformer Outages | [7 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Event ID Code is defined on Form 5.
[3] | A Unique Element Identifier from a Transformer defined in Form 3.2 must be used.
[4] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year.
[5] | Report zero hours and zero minutes Outage Duration for Momentary Outages.
[6] | For Momentary Outages, enter "NA-Momentary"
[7] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
Transformer Momentary and Sustained Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L)
| Outage ID Code | Event ID Code [2] | Unique Element Identifier (Transformer) [3] | Fault Type | Outage Initiation Code | Start Time (mm/dd/yyyy hh:mm) [4] | Time Zone | Outage Duration hhhh:mm [5] | Initiating Cause Code | Sustained Cause Code [6] | Outage Mode | Outage Continuation Code [7]
0

## 4.4 AC-DC BTB Con Outage Data
Form 4.4 AC/DC BTB Converter Outages |  |  |  |  | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Event ID Code is defined on Form 5.
[3] | A Unique Element Identifier from a Transformer defined in Form 3.2 must be used.
[4] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year.
[5] | Report zero hours and zero minutes Outage Duration for Momentary Outages.
[6] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
AC/DC Back-to-Back Converter Momentary and Sustained Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | (K) | (L)
| Outage ID Code | Event ID Code [2] | Unique Element Identifier (AC/DC BTB) [3] | Fault Type | Outage Initiation Code | Start Time (mm/dd/yyyy hh:mm) [4] | Time Zone | Outage Duration hhhh:mm [5] | Initiating Cause Code | Sustained Cause Code | Outage Mode | Outage Continuation Code [6]

## 5 Event ID Codes
Form 5 Event ID Code and Event Type Number Data - For Reporting Years 2012 and Beyond |  |  |  | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | The Event ID Code must be unique within each TO. Once it is used in a given year, it can not be data entered again on subsequent year Form 5 data.
[3] | See the TADS Data Instruction Manual for defined Event Type Numbers. Note that if Event Type Number 11 is selected, the Outage Mode on column P on Forms 4.1, 4.2, or 4.3 must be "Single Mode Outage."
[4] | Optional input: Provide a brief description of the Event outage(s) for any Event ID Code. Please limit the description to 500 characters or less.
[5] | Was an EOP-004 report filed at NERC that was associated with the Event? Check with your TOP or TADS Regional Entity Coordinator if you are not sure.
Event ID Code Data
| (A) | (B) | (C) | (D)
| Event ID Code [2] | Event Type No. [3] | Description of the Event (optional) [4] | Disturbance Report Filed [5]

## 6.1 AC Ckt NonAutoOutage Data
Form 6.1 AC Non-Automatic Circuit Outages | [5 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | A Unique Element Identifier from an AC Circuit in Form 3.1 must be used.
[3] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year. When uploading the XML file, UTC time is the default time zone. On the webTADS upload display a choice is provided for start time data provided in another time zone.
[4] | For outages that started in a previous reporting year, enter the Outage Duration for the current reporting year only.
[5] | Enter "NA" if the outage is NOT an Operational Outage
[6] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
AC Circuit Non-Automatic Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H)
| Outage ID Code | Unique Element Identifier (AC Circuit) [2] | Non-Automatic Outage Type | Start Time (mm/dd/yyyy hh:mm) [3] | Time Zone [3] | Outage Duration hhhh:mm [4] | Operational Outage Cause Code [5] | Outage Continuation Code [6]

## 6.2 DC Ckt NonAutoOutage Data
Form 6.2 DC Circuit Non-Automatic Outages | [5 empty] | CONFIDENTIAL INFORMATION
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | A Unique Element Identifier from a DC Circuit in Form 3.1 must be used.
[3] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year. When uploading the XML file, UTC time is the default time zone. On the webTADS upload display a choice is provided for start time data provided in another time zone.
[4] | For outages that started in a previous reporting year, enter the Outage Duration for the current reporting year only.
[5] | Enter "NA" if the outage is NOT a Operational Outage
[6] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
DC Circuit Non-Automatic Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H)
| Outage ID Code | Unique Element Identifier (DC Circuit) [2] | Non-Automatic Outage Type | Start Time (mm/dd/yyyy hh:mm) [3] | Time Zone [3] | Outage Duration hhhh:mm [4] | Operational Outage Cause Code [5] | Outage Continuation Code [6]

## 6.3 Transfmr NonAutoOutage Data
Form 6.3 Transformer Non-Automatic Outages
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | A Unique Element Identifier from a Transformer in Form 3.2 must be used.
[3] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year. On the webTADs upload display, a choice is provided for start time data provided in another time zone.
[4] | For outages that started in a previous reporting year, enter the Outage Duration for the current reporting year only.
[5] | Enter "NA" if the outage is NOT a Operational Outage
[6] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
Transformer Non-Automatic Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H)
| Outage ID Code | Unique Element Identifier (Transformer) [2] | Non-Automatic Outage Type | Start Time (mm/dd/yyyy hh:mm) | Time Zone [3] | Outage Duration hhhh:mm [4] | Operational Outage Cause Code [5] | Outage Continuation Code [6]

## 6.4 AC-DCBTBC NonAutoOutageData
Form 6.4 AC/DC BTB Converter Non-Automatic Outages
Notes:
[1] | If a TO owns or reports on Elements in a different NERC Region or in a different country, provide data for each Region and country in a separate workbook.
[2] | For outages which started in another (previous) reporting year, enter 01/01/yyyy 00:00 as the Outage Start Time, where yyyy is the current reporting year. When uploading the XML file, UTC time is the default time zone. On the webTADs upload display a choice is provided for start time data provided in another time zone.
[3] | For outages that started in a previous reporting year, enter the Outage Duration for the current reporting year only.
[4] | Enter "NA" if the outage is NOT a Operational Outage
[5] | 0 = Outage began and ended within the reporting year; 1= Outage began in the reporting year but continues into the next reporting year; 2 = Outage started in another (previous) reporting year.
AC/DC Back-to-Back Converter Non-Automatic Outage Data
Cause Codes
| (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (P)
| Outage ID Code | Unique Element Identifier (AC/DC BTB Converter) | Non-Automatic Outage Type | Start Time (mm/dd/yyyy hh:mm) [2] | Time Zone | Outage Duration hhhh:mm [3] | Operational Outage Cause Code [4] | Outage Continuation Code [5]

## Picklist Values
Form 1.1 | Region | Country | Sub Region
| MRO | Canada | MRO
| NPCC | Mexico | MRO CA
| RFC | US | MRO US
| SERC |  | Maritimes
| TRE |  | NPCC
| WECC |  | NPCC - NYISO
New England
New York
Ontario
Quebec
OTHER
RFC
RFC - MISO
RFC - PJM
Central
Delta
ERC SubRegion1
Gateway
SERC
Southeastern
VACAR
ERCOT
TRE
CA-MX
Desert SW
NWPP
RMPA
WECC
Form 1.2 | C28-C40 | D30-D31 |  | D32-D35 |  | D36-39 |  |  | D40
| Submitted | NA; form was submitted |  | NA; form was submitted |  | NA; form was submitted |  |  | NA; form was submitted
| Not Submitted | No data of this type |  | NA; form not required at this time |  | NA; form not required at this time |  |  | NA; form not required at this time
|  |  |  | No Elements of this type |  | No Elements of this type |  |  | No Outages
No Outages
Voltage Class
Form 2.1 | Type Of Circuits | 0-99 kV | OH/UG | Question 1 | Question 2
| AC | 100-199 kV | OH | NA - 1st submittal | NA
| DC | 200-299 kV | UG | Yes | Yes
|  | 300-399 kV |  | No | No
400-499 kV
400-599 kV
500-599 kV
600-799 kV
Form 2.2 |  | AC Voltage Class
0-99 kV
100-199 kV
200-299 kV
300-399 kV
400-599 kV
600-799 kV
Form 3.1 |  |  |  | Question 1 | Question 2
|  |  |  | Yes | Not applicable
|  |  |  | No | Yes
No
Form 4.X |  | Fault Type |  | Outage Initiation Code |  | Initiating Cause Code |  | Sustained Cause Code |  | Outage Mode Code |  | Outage Continuation Code |  | DC Voltage Class | Time Zone
|  | No fault |  | Element-Initiated |  | Contamination |  | NA- Momentary |  | Single Mode |  | 0 |  | 0-99 kV | HAST
|  | P-P fault |  | Other Element-Initiated |  | Environmental |  | Contamination |  | Dependent Mode Initiating |  | 1 |  | 100-199 kV | AKST
|  | Single P-G fault |  | AC Substation-Initiated |  | Failed AC Circuit Equipment |  | Environmental |  | Dependent Mode |  | 2 |  | 200-299 kV | AKPT
|  | P-P-G, 3 P, or 3P-G fault |  | AC/DC Terminal-Initiated |  | Failed AC Substation Equipment |  | Failed AC Circuit Equipment |  | Common Mode |  |  |  | 300-399 kV | PST
|  | Unknown fault type |  | Protection System-Initiated |  | Failed AC/DC Terminal Equipment |  | Failed AC Substation Equipment |  | Common Mode Initiating |  |  |  | 400-499 kV | PPT
|  |  |  | Other Facility-Initiated |  | Failed DC Circuit Equipment |  | Failed AC/DC Terminal Equipment | [5 empty] | 500-599 kV | MST
[6 empty] | Failed Protection System Equipment |  | Failed DC Circuit Equipment | [5 empty] | 600-799 kV | MPT
[6 empty] | Fire |  | Failed Protection System Equipment | [6 empty] | CST
[6 empty] | Foreign Interference |  | Fire | [6 empty] | CPT
[6 empty] | Human Error |  | Foreign Interference | [6 empty] | EST
[6 empty] | Lightning |  | Human Error | [6 empty] | EPT
[6 empty] | Other |  | Lightning | [6 empty] | AST
[6 empty] | Power System Condition |  | Other | [6 empty] | APT
[6 empty] | Unknown |  | Power System Condition | [6 empty] | GMT
[6 empty] | Physical Security Incident |  | Unknown
[6 empty] | Vegetation |  | Vandalism, Terrorism, or Malicious Acts
[6 empty] | Weather, excluding lightning |  | Vegetation
[6 empty] | Cyber Security Incident |  | Weather, excluding lightning
Cyber Security Incident
Form 5 | Event Type No. | Disturbance Report Filed?
| 05 | Yes
| 06 | No
11
13
31
49
60
61
62
90
Form 6.X | Non-Auto Outage Type |  |  | Planned Outage Code |  |  |  | Operational Outage Code
| Operational |  |  | NA |  |  |  | NA
|  |  |  | Maintenance and Construction |  |  |  | Emergency
|  |  |  | Third Party Request |  |  |  | System Voltage Limit Mitigation
|  |  |  | Other Planned Outage |  |  |  | System Operating Limit Mitigation, ex Voltage
Human Error
Other Operational Outage
Detailed Inventory | Conductors | GroundWires | InsulatorTypes | CableTypes | StructMats | StructTypes | CircuitsPerStruct | Terrain | Elevation | CircuitType | BESFlag | Phasing | Common Corridor
| 1 | 0 | CEP | SWD | AL | DLC | 1 | CO | Less than 2,000 feet | ACO - AC Overhead | 0 | Single | TOC - Common Tower
| 2 | 1 | CES | SND | CN | HFR | 2 | DS | 2,001 to 4,000 feet | ACC - AC Cable | 1 | Single phase of 3 phase bank | CRW - Common Right of Way
| 3 | 2 | POP | OWD | FG | KFR | 3 | MT | 4,001 to 6,000 feet | DCO - DC Overhead
| 4 |  | POS | OND | ST | LAT | 4 | FR | 6,001 to 8,000 feet | DCC - DC Cable
|  |  | GLS | GWD | WD | SPG | 5 | UR | 8,001 to 10,000 feet
|  |  | MXD | GND | CM | SPU | 6 | PR | 10,001 to 12,000 feet
|  |  | OTH |  | OT | DOP |  | MX | Elevation varies more than 2,000 feet
[5 empty] | MX | SLC
YTY
OTH
MXD