## PARAMETERS
EASTERN INTERCONNECTION CALCULATIONS
Balancing | Freq | 2016 Interconnection | 2016 | Eastern Interconnection
Authority | Bias | Bias | L10 | 0.001 x E1 | FTL_Low | FTL_High
BA | -50 | -5268.56 | 52.798 | 0.018 | 59.946 | 60.054
Enter Balancing Authority Acronym in cell "A4" and its Frequency Bias setting (negative number) in cell "B4"
NOTE: Interconnection Bias and Balancing Authority Frequency Bias Setting must be valid for the data time period.
REVISION INFORMATION | EFFECTIVE DATE | COMMENTS
Workbook modified to reflect proposed implementation of the BAAL to use Scheduled Frequency. FTL for all Interconnections are to use bounds based upon 3 X Epsilon1 offset from Scheduled Frequency. | 2014-03-01 | This version of the workbook uses Scheduled Frequency in numerator and denominator of the BAAL equation in a manner where the FTL shifts with the Time Error Correction.
Frequency Bias Setting Updated | 2016-04-05
Note on B4: Value entered must be a negative number.

## SAMPLE
BA | DATE | TIME | TIMEZONE | ACE | FREQERROR | FREQBIAS | ACTFREQ | SCHEDFREQ | AQC | FQC | BAALlow | MinCtLow | BAALhigh | MinCtHigh | CPS1
BA-05 | 2004-07-01 | 23:55 | EST | -90.6876 | -0.1 | -311 | 59.9 | 60 | 0 | 0 | -90.6876 | 0 |  | 0 | -700
BA-05 | 2004-07-01 | 23:56 | EST | -93.0129 | -0.0975 | -311 | 59.9025 | 60 | 0 | 0 | -93.0129 | 0 |  | 0 | -700
BA-05 | 2004-07-01 | 23:57 | EST | -95.4606 | -0.095 | -311 | 59.905 | 60 | 0 | 0 | -95.4606 | 0 |  | 0 | -700
BA-05 | 2004-07-01 | 23:58 | EST | -98.0406 | -0.0925 | -311 | 59.9075 | 60 | 0 | 0 | -98.0406 | 0 |  | 0 | -700
BA-05 | 2004-07-01 | 23:59 | EST | -100.764 | -0.09 | -311 | 59.91 | 60 | 0 | 0 | -100.764 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:00 | EST | -134.352 | -0.0675 | -311 | 59.9125 | 59.98 | 0 | 0 | -134.352 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:01 | EST | -139.5194 | -0.065 | -311 | 59.915 | 59.98 | 0 | 0 | -139.5194 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:02 | EST | 302.292 | 0.03 | -311 | 60.01 | 59.98 | 0 | 0 |  | 0 | 302.292 | 0 | -700
BA-05 | 2004-07-02 | 0:03 | EST | 362.7504 | 0.025 | -311 | 60.005 | 59.98 | 0 | 0 |  | 0 | 362.7504 | 0 | -700
BA-05 | 2004-07-02 | 0:04 | EST | -157.7176 | -0.0575 | -311 | 59.9225 | 59.98 | 0 | 0 | -157.7176 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:05 | EST | -164.8865 | -0.055 | -311 | 59.925 | 59.98 | 0 | 0 | -164.8865 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:06 | EST | -172.7383 | -0.0525 | -311 | 59.9275 | 59.98 | 0 | 0 | -172.7383 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:07 | EST | -181.3752 | -0.05 | -311 | 59.93 | 59.98 | 0 | 0 | -181.3752 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:08 | EST | -190.9213 | -0.0475 | -311 | 59.9325 | 59.98 | 0 | 0 | -190.9213 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:09 | EST | -201.528 | -0.045 | -311 | 59.935 | 59.98 | 0 | 0 | -201.528 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:10 | EST | -213.3826 | -0.0425 | -311 | 59.9375 | 59.98 | 0 | 0 | -213.3826 | 0 |  | 0 | -700
BA-05 | 2004-07-02 | 0:11 | EST | -226.719 | -0.04 | -311 | 59.94 | 59.98 | 0 | 0 | -226.719 | 0 |  | 0 | -700
| INSERT DATA FOR THESE FIELDS FOR ALL CLOCK-MINUTES FOR THE MONTH | [9 empty] | COPY THESE CELLS DOWN FOR ALL CLOCK-MINUTES
Note on E1: Clock-Minute average of ACE used for NERC CPS1. Sometimes referred to as "NERC ACE"

## DISCLAIMER
DISCLAIMER: THE USE OF THIS BAAL WORKBOOK IS PROVIDED FREE OF CHARGE AND NEITHER DUKE ENERGY CORPORATION, NOR ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS MAKE ANY CLAIMS, PROMISES OR GUARANTEES ABOUT THE ACCURACY, COMPLETENESS, OR ADEQUACY OF THE RESULTS OBTAINED THROUGH THE USE THEREOF AND HEREBY DISCLAIMS ANY RESPONSIBILITY OR LIABILITY WHATSOEVER FOR ANY ERRORS, OMISSIONS, OR DISCREPANCIES IN ANY SUCH RESULTS OR IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK. BY USING THE BAAL WORKBOOK THE USER AGREES TO THE TERMS OF THE DISCLAIMER AND WILL NOT HOLD DUKE ENERGY CORPORATION, ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS LIABLE FOR ANY ERRORS , OMISSIONS, OR DISCREPANCIES IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK.