Unofficial Comment Form for Transmission Vegetation Management Standard FAC-003-2 (Project 2007-07)

Please DO NOT use this comment form.  Please use the electronic comment form located at the link below to submit comments on the proposed standard.  Comments must be submitted by October 24, 2009.  If you have questions please contact Harry Tom at harry.tom@nerc.net.

### http://www.nerc.com/filez/standards/Vegetation-Management_Project_2007-7.html

### Opening Remarks:

The SDT appreciates the valuable responses provided by the industry and other stakeholders on this Standard revision.  We have worked diligently, utilizing those comments and directives in FERC Order 693 to improve this revision.

Given the importance and complexity of this standard, the SDT felt it was appropriate to develop and provide a comprehensive Technical Reference Document (White Paper) to assist in the interpretation and application of this standard.  This companion document is included in this posting of FAC-003-2.

We are optimistic that this Standard fully satisfies stakeholder concerns and FERC Order 693 and believe this version will be ready for balloting after this comment period.

### Background Information:

The Vegetation Management Standard Drafting Team (SDT) prepared a proposed revision of FAC-003-1 in accordance with the scope as contained in the Standard Authorization Request (SAR). The SAR includes addressing FERC directives in Order 693.  These included:

- Removal of ‘fill in the blank’ components where the Transmission Owner determines the requirement with no limits or direction. Examples include Clearance 1 and “personnel requirements” in version 1.

- Removal of references to the Regional Reliability Organization (RRO) and replacement with the correct designation of Regional Entity (RE).

- Application of new NERC Drafting Team Guidelines (DTG) to the standard. Examples include the replacement of the current compliance section with Violation Risk Factors (VRFs) and Violation Severity Levels (VSLs) as referenced in the Sanction Guidelines. Additionally, documentation and implementation elements are separated into different requirements in the proposed standard as required by the DTG.

- Address the applicability and appropriateness of IEEE 516 in determining clearance distances.

- Address applicability of this standard to sub 200kV lines that could place the grid at an unacceptable risk of instability, separation, or cascading failures.

- Address a minimum vegetation inspection frequency that accounts for local factors.

- Address applicability to federal lands.

The initial proposed revision was posted for industry comment during a public comment period from October 27, 2008 to November 25, 2008. The SDT received comments from 66 separate entities on the initial posting of this proposed standard revision.  The completed Consideration of Comments document spans 279 pages making it one of the largest comment documents for any of the NERC draft standards. There were 17 specific questions and a summary question in the posting.

After careful consideration of FERC Order 693 and all comments from the stakeholders, the Standards Drafting Team (SDT) made revisions to the proposed second in order to make it stronger, clearer and more practical for field implementation. These revisions are fully articulated in the mapping document and should be reviewed by the reader. The SDT also developed a Technical Reference Document (White Paper) to clarify the intent and purpose of each requirement found in FAC-003-2.   Many of the significant revisions are, however, highlighted in the following:

The key difference between the current standard and this posting is the requirement that certain vegetation outages are violations of the standard (R5, R6, R7 and R8). These requirements, in a clear and unambiguous manner, address prevention of Sustained Outages due to vegetation.

Key differences between first posting and second posting of proposed FAC-003 -2 include:

- Replaced the Critical Clearance Zone (CCZ) concept found in R4 with a practical field measurement to address commenter’s concerns.

- Eliminated the CCZ as the trigger of imminent threat in R2 to address commenters’ concerns.

- Added a new part to Requirement R1 - TVMP (1.6) to address commenters’ concerns regarding the elimination of Clearance 1. This change requires that the TO account for anticipated conductor movement.

- Developed VRFs and VSLs consistent with the NERC Drafting Team Guidelines.

- Created a second grow-in outage requirement to allow for different VRF levels based on the actual criticality of the line.

The SDT believes that this posting is an improvement over both the FAC 003-1 and the October 27, 2008 posting of FAC 003-2. The following illustrates examples of these improvements.

- The purpose statement was shortened to be in line with the Drafting Team Guidelines for a more concise purpose statement. The various explanatory objectives in the current standard’s Purpose statement are now addressed within the body of the requirements of this second revision.

- Revised the purpose statement in response to comments about the use of the term Bulk Electric System.

- The TVMP Requirement found in R1 was re-written to clarify that the objective of the TVMP is to improve reliability by preventing Sustained Outages due to vegetation.

- Requirement R1, Part 1.6 now requires that the TO effectively describe the strategies used to prevent tree and conductor conflicts, replacing “Clearance 1”.

- Requirement R4 replaces the CCZ concept with a practical “real time” method of observing/measuring vegetation that could cause spark-over.

- Requirement R2 eliminates the CCZ trigger for the Imminent Threat Process in favor of a more practical field implementation strategy.

- Defined Vegetation Inspection as a NERC Glossary term. This definition recognizes that vegetation inspections can be performed concurrently with other transmission line inspections.

- Defined Active Transmission Line Right-of-Way as NERC Glossary term.  This limits applicability of the requirements to the portion of the ROW with active transmission facilities.

- Established a minimum inspection frequency of one calendar year to address FERC concerns about inspection cycles.  This also includes a provision to address impact of natural disasters on schedule attainment.

- Clarified Applicability section to include all types of land ownerships to address FERC concerns identified in Order 693.

- Established clear process and responsibility to identify and designate sub 200kV lines which will be subject to the provisions of this standard.

- Developed VRFs in accordance with the Drafting Team Guidelines to better reflect impact/risk to the reliability of the grid.

- Developed separate requirements for documentation and implementation of the Imminent Threat Process, Vegetation Inspections, and the Annual Work Plan in accordance with the Drafting Team Guidelines.

- Replaced Clearance 2 with Minimum Vegetation Clearance Distance (MVCD) based on the Gallet equation. This removes the ambiguity about hypothetical versus real-time clearance while still accounting for conductor movement in R1, Part 1.6.

- Replaced the Reliability Coordinator (RC) with the Planning Coordinator (PC) as the appropriate entity to designate applicable sub 200kV lines.

- Clarified Interim Corrective Action Plan as “temporary” in nature when the TO is constrained from getting adequate clearance. The Interim Corrective Action Plan also replaces the term Mitigation Plan avoiding conflicts with the Compliance term “Mitigation Plan.”

- Eliminated the reporting requirement for Category 3 (fall-in from outside the ROW) outages.

- Assigned new Sustained Outage reporting categories (1A, 1B, 2 and 4) which will allow tracking and trending to use historical outages.

### Analysis of Industry Comments:

Disagreements were high for questions 1, 7, 11, and 15, with values of 52%, 47%, 57% and 94% respectively.  Those disagreements related to the use of the term “Bulk Electric System” in the purpose statement, the identification of actions required of the Transmission Operator when implementing the imminent threat procedure in Requirement R1.4, the use of “approaching” the calculated boundary of the Critical Clearance Zone as the threshold for implementation of the imminent threat procedure in requirement R2, and the use of the calculated boundary of the Critical Clearance Zone as a surface for determining clearance violations in R4.   The comments contained numerous suggestions for changes to address the disagreements.  The other questions were given mostly agreeable remarks; however some changes were made based on those comments.

The SDT has posted its response to the comments submitted in response to the last draft of this standard.  The team updated its Technical Reference to align with the changes made to the proposed standard, updated the “mapping” document, and added an implementation plan.  Please review these documents and then answer the following questions.

*Please use the electronic comment form to submit your final responses to NERC.

- As stated in the background information above, in response to industry comments, the Requirement for documentation of a TVMP (the new R1) is revised. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for implementation of Imminent Threat process/procedure (the new R2) is revised. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for conducting Vegetation Inspections (the new R3) is revised. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for preventing vegetation encroachments (the new R4) is revised. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for preventing Sustained Outages due to grow-ins on IROL or Major WECC Transfer Paths (the new R5) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for preventing Sustained Outages due to grow-ins on non-IROL or Major WECC Transfer Paths (the new R6) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for preventing Sustained Outages due to blowing together of vegetation and transmission line conductors (the new R7) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for preventing Sustained Outages due to fall-ins of vegetation (the new R8) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for implementation of annual work plan (the new R9) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for the preparation of list for sub 200kV transmission lines by the Planning Coordinator (the new R10) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, the Requirement for the Planning Coordinator to document method for identification of applicable sub-200kV transmission lines (the new R11) is developed. Additionally the SDT assigned Time Horizons, Violation Risk Factors, and Violation Severity Levels. Do you agree? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- The SDT received suggestions from commenters to re-sequence the requirements contained in the standard to improve the logical flow of this document.  The SDT submits for consideration a proposed alternative sequence. Do you agree with the proposed alternative sequencing? If not, please recommend a suggested sequence.

| Proposed Alternative Sequence | Current Sequence | Description |
| --- | --- | --- |
| R1 | R11 | PC to document method to determine sub 200kV lines |
| R2 | R10 | PC to prepare list of sub 200kV lines |
| R3 | R1 | Document TVMP |
| R4 | R3 | Conduct Vegetation Inspections |
| R5 | R9 | Implement Annual Work Plan |
| R6 | R2 | Implement Imminent Threat |
| R7 | R4 | Prevent Vegetation Encroachments |
| R8 | R8 | Prevent Fall-in Outages |
| R9 | R7 | Prevent Blow-in Outages |
| R10 | R6 | Prevent Grow-in Outages (non-IROL lines) |
| R11 | R5 | Prevent Grow-in Outages (IROL lines) |

* If the standard is re-sequenced, it will be reflected in the next version.

Agree

Disagree

Comments:

- The Implementation Plan proposes an effective date that gives entities at least a year to become fully compliant.  Do you agree with this implementation plan?  If not, please indicate what should be changed and indicate why.

Agree

Disagree

Comments:

- Do you have further questions about the standard that the Technical Reference document (White Paper) does not clear up? If so, please elaborate and propose additions.

Comments:

- As stated in the background information above, in response to industry comments, the applicability section is revised to replace Reliability Coordinator with Planning Coordinator. Do you agree with these changes? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- As stated in the background information above, in response to industry comments, changes were made to the definitions. Do you agree with these changes? If not, please explain and propose an alternative.

Agree

Disagree

Comments:

- When compared to Version 1, does this proposed Version 2 of the standard either maintain or improve overall electric reliability?  Please provide a technical basis for your response?

V2 Does maintain or improve overall reliability

V2 Does not maintain or improve overall reliability

Comments:

- Besides the comments you have already provided for the preceding questions, do you have further suggestions for improving this standard? If so, please elaborate.

Comments: