## Standards Efficiency Review Pha
LastEdit | First Name | Last Name | Organization/Entity | Email | Telephone | Do you believe the recommendations in the Evidence Retention Report will result in efficiency gains for your organization? If so, please describe. | Do you have an comments/concerns after reviewing the report? | Are there any specific recommendations or items missing from the report?
2019-08-23 12:58 | Ginger | Mercier | Prairie Power, Inc. | gmercier@ppi.coop | 2172456161 | No, PPI does support these recommendations; however, we are unsure at this time if they will lead to a gain in "efficiency." They will definitely provide clarity, and that is needed. | Yes, The new evidence retention recommendations are definitely a step in teh right direction; however, there are still a lot of varying deadlines to be tracked by our SMEs (i.e., is this requirement 12 rolling months or 48 rolling months? ) | No
2019-08-23 14:00 | James | Baldwin | Euegene Water & Electric Board | james.baldwin@eweb.org | 5416857482 | Yes | No | No
2019-08-23 12:55 | Toni | Orth | Bureau of Reclamation | torth@usbr.gov | 7207377807 | Yes | No | No
2019-09-10 17:19 | Kelsi | Rigby | Arizona Public Service Company | Kelsi.Rigby@aps.com | 602-250-2965 | Yes, Having certainty that established and published evidence retention criteria will be adhered to by the regional entities and NERC and FERC will provide the ability for reliability entities to only retain relevant data for the time periods noted to demonstrate compliance. | No | No
2019-08-28 15:31 | Marilyn | Williams | JEA | willmr2@jea.com | 904-665-6508 | Yes, As Reliability and Compliance mature, entities can't keep evidence for infinity. The industry must step up and make decisions about the length of record keeping. Otherwise, we are required to have endless storage which isn't cost effective or realistic. What is the benefit to continually to look over your shoulder at the past, when it is the present and future that are important to reliability. | No | No
2019-09-02 11:56 | deb | steitz | Buffalo Gap Wind Farm, LLC | deb.steitz@aes.com | 317.264.9949 | Yes, Given the changing audit periods, by requirement would afford a clear expectation. | Yes, The comparison to “how many” different retention periods is moot. It is the fact that there is not a clear expectation communicated within the Standards. | No
2019-09-23 17:10 | Troy | Brumfield | American Transmission Company | lbrumfield@atcllc.com | 2628328645 | Yes, American Transmission Company supports the comments submitted by EEI and the NSRF. Additionally Efficiencies will be through clear delineation of retention. The current 50+ retention schemes dilute the concept of having a “Standard” and have led to various entity data retention schemes throughout the industry. Efficiencies will benefit the industry, entities, and the concept of having “Standards”. Thank you to the project team for your efforts. | Yes, American Transmission Company supports the comments submitted by EEI and the NSRF. Additionally, On page 20, under Recommended Evidence Retention Schemes, the report list eight (8) newly improved schemes. The ATC recommends two adjustments: 1. Recommendation 1, the end of the sentence which states; “… with a revision history specifying changes and dates or review” should be deleted. This will impose a pseudo requirement that all procedures, etc. have this attribute. Each applicable entity has their own unique way of tracking the change history to processes (i.e., Internal Controls). This too, does not support reliability and is only admirative in nature. 2. Recommendation 4, Rolling 06 Month scheme. Per the rational, we cannot find where this is used in any Requirements within appendix C. Additionally, we do not understand the ambiguous term of “… for high volume data.”? Please clarify as ATC does not see this as adding to reliability. ATC proposes that we remove this evidence retention scheme from the recommended list. ATC noticed that not all proposed changes are one-to-one. Some requirements will have looser evidence retention while others will have tighter evidence retention compared to current requirements. For example: • Tighter – PER-005-3 R3 o Current = Since Last Compliance Audit o Proposed = Rolling 48 months data retention period • Looser – TPL-001-4 R1 o Current = Current and Previous Planning Assessment o Proposed = Current plan, model, agreement, methodology, study, program or procedure with a revision history specifying changes and dates of review We noticed that this is not consistent with item 2 under Additional Recommendations on page 21 of the report since Appendix C is supposed to be for all High VRFs. Please see Appendix C (separate file) There is a proposed “Rolling 90-day data retention period for voice and audio recordings” listed in Appendix C. Is this the same as the recommended “Rolling 3 months data retention period for voice and audio recordings” listed on page 20? There appears to be a conflict between recommendation #3 rolling 3 months for voice and audio and the New Evidence Retention Recommendations in Appendix C. In Appendix C, there are various new proposed retention periods of 12-rolling months where forms of evidence also include voice recordings (certain requirements in COM-001-3, COM-002-4, IRO-002-5, IRO-018-1, TOP-001-4, TOP-010-1i). In these instances, where voice and audio recordings can be used as evidence, the retention period should also include the 03-month data retention period for voice and audio recordings. It would be difficult for entities to manage voice recordings at different retention lengths in the Standards. | Yes, American Transmission Company supports the comments submitted by EEI and the NSRF. Additionally, Instances of the current retention period “Since Last Audit” in Appendix C are being proposed to be changed to 48-month rolling retention periods. Your report analysis correctly stated that we have had mandatory Standards since 2007 and have been through several audit cycles. With the maturity of compliance and auditing, it seems reasonable that a 36-month rolling retention period be proposed for what is currently “Since Last Audit”. The report only provided examples of changes to the High VRF requirements (Appendix C and D). Our recommendation is for the SER Phase 2 Evidence Retention Project team to show similar changes to the Medium and Low VRFs.
2019-09-04 20:06 | John | Martinsen | Public Utility District No. 1 of Snohomish County | jdmartinsen@snopud.com | 425.783.8080 | Yes, Simplifying retention will save time and resources | Yes, I think this is an excellent start. However, I think more efficiency gains could be made. Reviewing old information is often of little value. If an entity has a poor compliance history increased retention schedules should be warranted. However, 99+% of the industry supports reliability requirements to meet their customer and regulators expectations. | No
2019-09-23 12:34 | Matthew | Harward | Southwest Power Pool, Inc. | mharward@spp.org | 501-614-3560 | Yes, The organization could realize efficiencies by making requirements more consistent across several Standards | No | No
2019-09-23 14:42 | Amy | Casuscelli | Xcel Energy | amy.r.casuscelli@xcelenergy.com | 612-330-7912 | Yes | Yes, Xcel Energy supports the comments submitted by EEI in entirety. We would also like to reiterate the importance of aligning the evidence retention obligations with audit/oversight engagements.
2019-09-09 12:07 | Paul | Mehlhaff | Sunflower Electric Power Corporation | paul.mehlhaff@sunflower.net | 620-793-1257 | No, This will require significant effort to reorganize Sunflower's established retention policies. | Yes, Sunflower agrees with the comments Not Supporting the evidence retention concept on page 13 of the report. Sunflower is also concerned with how this will be implemented. Will the retention be listed within each Standard or will the Standards refer to a standalone retention document? If the latter approach is chosen this puts unnecessary burden on industry to align evidence types to appropriate evidence retention schemes. If determined by the RE that the incorrect evidence retention scheme is applied, could this result in a PNC? | Yes, An opportunity to comment and vote on the implementation plan when available. Have extensive industry outreach for implementation purposes. Also, the format of this survey is very difficult to navigate and provide comments because of the limited size of the comment box.
2019-09-11 16:40 | Michael | Rogers | Power Delivery Compliance/Alabama Power | mrogers@southernco.com | 205-257-4890 | No | No | No
2019-09-10 15:34 | Theresa | Allard | Minnkota Power Cooperative | tallard@minnkota.com | 701-795-4343 | Yes, Yes, rather than keep evidence indefinitely because it's currently so confusing, we will now know with certainty when we can dispose. | No | No
2019-09-11 10:19 | Leslie | Spanier | Platte River Power Authority | spanierl@prpa.org | 970-229-5324 | Yes, Overall yes but implementation will be a big undertaking but needed for continuous improvement. | No, The SER Phase 2 team has done a very thorough job. with the analyses f | No
2019-09-19 13:59 | Dana | Klem | NSRF | dana.klem@mro.net | 651-855-1741 | Yes | Yes, Comments: On page 20, under Recommended Evidence Retention Schemes, the report list eight (8) newly improved schemes. The NSRF recommends two adjustments: | Yes, The NSRF recommends removing Evidence Retention Scheme 4, rolling 6 months. This retention scheme is not currently used. Removing unused retention schemes reduces the number of potential data retention schemes.
2019-09-19 19:07 | Aaron | Cavanaugh | Bonneville Power Administration | amcavanaugh@bpa.gov | 503-230-3317 | Yes, BPA believes the report will alleviate strenuous efforts of maintaining control of data for entire audit periods. | Yes, BPA believes the future implementation does not alleviate historical/past evidence retention requirements. BPA would like to know what will be the method of reviewing historical/past data sets? | No
2019-09-20 12:55 | Don | Schmit | Nebraska Public Power District (NPPD) | deschmi@nppd.com | 402-845-5273 | Yes, Efficiencies will be through clear delineation of retention. The current 50+ retention schemes dilute the concept of having a “Standard” and have led to various entity data retention schemes throughout the industry. Efficiencies will be to the industry, entities, and the concept of having “Standards”. Thank you to the project team for your efforts. | Yes, Appendix C focused on the ‘High’ VRF’s. It is inferred that the medium/low VRF’s would also be spread across the eight-new proposed evidence retention schemes. For clarity, this should be stated in the report. | Yes, In Appendix C, there are various new proposed retention periods of 12-rolling months where forms of evidence also include voice recordings (certain requirements in COM-001-3, COM-002-4, IRO-002-5, IRO-018-1, TOP-001-4, TOP-010-1i). In these instances, where voice and audio recordings can be used as evidence, the retention period should also include the 03-month data retention period for voice and audio recordings. It would be difficult for entities to manage voice recordings at different retention lengths in the Standards.
2019-09-20 13:16 | Romela | Neal | Tacoma Power | rneal2@cityoftacoma.org | 2537797798 | Yes, Efficiency comes because the volume is less | Yes, The report drives our architecture for a program and evidence records | Yes, Provide a recommended fileplan
2019-09-20 13:52 | Jeff | Kimbell | PUD #1 of Chelan County (CHPD) | jeff.kimbell@chelanpud.org | 509-661-4116 | No, We appreciate the work of the SER Team and the desire for efficiency and harmonization. As a minimum, we will support any revised evidence retention schemes. However, we do not expect to make other changes in our evidence retention practices due to: 1) Taking a conservative approach to evidence retention by retaining all evidence for a minimum of the last audit period, if not required longer. 2) The need to provide evidence to auditors for proof of compliance. (Even with the proposed complementary update to the Auditor’s Manual and associated training, we expect to maintain this conservative approach.) 3) The relatively low cost of storing evidence digitally. | No | No
2019-09-22 11:32 | Sing | Tay | Oklahoma Gas & Electric | taysh@oge.com | 405-553-3158 | Yes, Refer to email sent to Chris Larson | Yes, Refer to email sent to Chris Larson | Yes, Refer to email sent to Chris Larson
2019-09-23 10:13 | Rebecca | Baldwin | Transmission Access Policy Study Group | rebecca.baldwin@spiegelmcd.com | 202-879-4000 | Yes, The small number of potential evidence retention periods proposed in the Report, and their consistent application across standards (so that there are not multiple retention periods applicable to identical types of data), will allow TAPS members to streamline their internal retention policies. Simplifying evidence retention rules will also allow TAPS members to focus resources on higher-risk issues. Finally, implementation of the Report’s recommendations would reduce the amount of evidence required to be retained at any given time, thus reducing costs. TAPS appreciates the Evidence Retention team’s efforts and urges NERC to implement the Report’s recommendations. | Yes, The Report presents a simple, comprehensible, and well-thought-out approach to evidence retention. TAPS generally agrees with the Report’s analysis and recommendations. A handful of points in the Report could be further clarified: 1. On page 17, there is a bullet-point list under the heading “Evidence Retention Language.” It appears to be a list of problems with the language used in current standards, but due to the lack of explanation, the first several items could be mistaken for recommendations. This confusion could be eliminated by prefacing the list with a statement such as “For example, current evidence retention schemes include:” 2. Item 1 in the table of Recommended Evidence Retention Schemes at p. 20 proposes that an entity’s “current plan, model, agreement, methodology, study, program or procedure” must include “a revision history specifying changes and dates or review.” This proposal is at odds with the approach laid out in the Report: it is an administrative requirement better addressed as part of the registered entity’s internal controls. We suggest that the proposed requirement be deleted. 3. The table of Recommended Evidence Retention Schemes also contains several confusing statements. The final sentence of item 1 is “Keeping multiple years of document[s] is not necessary, _especially if there is no history of compliance violations_.” (emphasis added). Is there a different recommendation in cases where there is a history of compliance violations? Similarly, item 4, “Rolling 06 Months data retention period for high volume data,” concludes with the statement that “[i]n actual practice 30 days of rolling data may be enough to satisfy compliance-related questions.” It is not clear what implication that statement is meant to have for the recommended rolling 6-month period; is it that entities should retain 6 months of data, but the team believes auditors should not always look at the full 6 months? Nor is it clear why there are two recommendations for “high volume data” (items 4 and 6) with two different retention periods; do they apply to different types of high volume data, and if so, what characterizes the different types? Specifying the types of data at issue in each case (e.g. logs, scans, data collected on at least a daily basis, etc.) would help to alleviate this confusion. But we also note that no requirements listed in Appendix C appear to have been assigned a rolling six-month retention period, further calling into question the necessity of item 4. Finally, item 5 states that “_given the type of data_ it’s not necessary to have 3 or more years of data” (emphasis added), but there is no explanation of the type(s) of data to which the recommended period would apply. 4. Additional Recommendation 10, at p. 21, is “Assure that going forward evidence retention schemes are _concentrated on_ the highest risk requirements and not necessarily on all requirements.” (emphasis added). Is the intent that some lower-risk requirements would not have any associated evidence retention scheme? If so, how would registered entities and auditors determine what evidence could be required to demonstrate compliance with those requirements? Or does the use of the term “concentrated on” refer to the fact that evidence retention schemes should be assigned to each requirement with an eye to concentrating registered entities’ attention and effort on the highest risk requirements? 5. Finally, in Appendix C, it appears that the team has assigned only a single scheme to each requirement, even when the requirement includes multiple types of data--generally voice logs and written records--to which the Report’s recommendations at p. 20 would assign different retention periods. We suggest that in those cases, both applicable schemes be included; including a separate rule for voice recordings does not introduce an unjustifiable degree of complexity. | Yes, TAPS appreciates the work of the SER team to address inefficiencies with inconsistent evidence retention requirements and believe this is a good first step. The next step is to address unnecessary evidence _production and collection_, which is a greater area of inefficiency. If the body of NERC Reliability Standards were consistently written in a risk/results-based approach, then entities would no longer need to _produce and collect_ such a large quantity of evidence to prove compliance for low risk activities. Therefore, TAPS recommends the SER Phase 2 Team move forward with other efforts that can effectively address this problem.
2019-09-23 15:00 | Scott | McGough | Georgia System Operations Corporation | scott.mcgough@gasoc.com | 770-270-7689 | Yes, It is likely that “on balance” there will be a net efficiency gain/benefit; however, the type of data must also be given due weight in the overall evaluation, e.g., the significant storage that must be dedicated to voice and video recordings should be appropriately considered in the overall efficiency analysis. Accordingly, where some retention periods may increase for consistency and standardization, e.g., the recommendations to increase retention for all COM-002 evidence to a rolling 12 Calendar Months, the impact of this increase cannot be judged solely by the increase in the time period, but also by the type of data being retained and its overall organization impact. | Yes, GSOC has a potential concern regarding the increased retention periods that could be applied in certain instances and recommends that the team evaluate the value and re-align their recommendations appropriately. While it is likely that “on balance” there will be a net efficiency gain/benefit, the significant storage that must be dedicated to voice and video recordings must be given due consideration if there is a recommendation to increase the retention for such data/evidence. Additionally, GSOC observes that CIP-related data is not considered in the report and recommends that the consideration of retention periods also account for the value of standardization across the entire body of reliability standards. | Yes, GSOC supports the team’s objective to standardize and “right-size” retention obligations, but is concerned that there are discrepancies between the recommended data/evidence schemes on page 20 and their application on pages 31 – 72, resulting (at times) in an increase to retention periods, e.g., COM-001, COM-002, etc. Additionally, GSOC notes the use of “months” versus “years” and recommends that the team consider converting all years to months for consistency, e.g., 3 years would become 36 months. Finally, where data would also be subject to retention periods under other Federal Energy Regulatory Commission rules and regulations, the efficiencies gained in this effort would be reduced. GSOC recommends factoring the impacts from such other retention periods and from the likelihood of standardization across the entire body of the reliability standards, e.g., CIP, into the overall analysis for this effort.
2019-09-23 10:36 | Dennis | Chastain | Tennessee Valley Authority | dwchastain@tva.gov | 423-751-3950 | No, It is indeterminate if implementing the recommendations will result in actual efficiency gains for our organization. However, as an entity tasked with meeting standards established by the ERO, we believe that standardizing around a smaller set of evidence retention schemes, such as the eight proposed (rather than the 50+ that have evolved since 2007) would facilitate a better understanding of the ERO’s evidence retention expectations by industry. | Yes, The following editorial comments / suggestions are made on the draft report dated 6/24/2019. Page 14, table of standards Change “IRO-014-2” to “IRO-014-3” (effective 4/1/2017). Change “IRO-018-1(ii)” to “IRO-018-1(i)” (effective 4/1/2018). Appendix A Page 22, Table row #2: Remove PRC-001-1.1(ii) R2 from the third column. This requirement was retired 3/30/2017. The 90 day retention period specified in section D.1.3 of PRC-001-1.1(ii) is applicable to Measures 2 and 3. Measures 2 and 3 address Requirement 6 only. R6 was also retired on 3/30/2017. Page 22, Table row #16: Change “PRC-001-1.1(II), R1” to “PRC-001-1.1(ii), R3”. The “current, in-force documents” retention specified in section D.1.3 of PRC-001-1.1(ii) is applicable to Measure 1. Measure 1 addresses Requirement 3 only. Page 23, Table row #31: Consider removing “IRO-006-EAST-2, R1, R2”. A statement on page 14 indicates that “Regional Standards were not included in the data analysis” [assume this also applies to Interconnection level standards based on the table on page 14]. Page 24, Table row #33: Remove FAC-008-3 R4. This requirement was retired effective 1/21/2014. Page 24, Table row #33: Consider removing “PRC-006-NPCC-1, R1”. A statement on page 14 indicates that “Regional Standards were not included in the data analysis”. Page 25, Table row #50: Change “PER-005-3, R1, R2” to “PER-005-2, R1, R2”. Consider if these requirements should be moved to row #54 based on the standard’s section C.1.2 statement that applicable entities “shall keep data or evidence to show compliance for three years or since its last compliance audit, whichever time frame is greater”. Appendix B Page 26, High VRF list: Delete PRC-001-1.1(ii) R2, R5 and R6. These requirements were retired 3/30/2017. Page 29, Lower VRF list: Delete FAC-008-3, R4 and R5. These requirements were retired 1/21/2014. Page 29, Lower VRF list: Delete FAC-010-3, R5. This requirement was retired effective 1/21/2014. Page 29, Lower VRF list: Delete FAC-013-2, R3. This requirement was retired effective 1/21/2014. Appendix C Page 35: Change “PER-005-3” to “PER-005-2”. Page 36: Delete the rows for PRC-001-1.1(ii) R2, R5 and R6. These requirements were retired 3/30/2017. Appendix D Page 57: Change “PER-005-3” to “PER-005-2”. Page 58: Delete the rows for PRC-001-1.1(ii) R2, R5 and R6. These requirements were retired 3/30/2017. | No
2019-09-23 11:06 | Carla | Flinn | Ameren | cflinn@ameren.com | 314-554-2021 | Yes, In our opinion, it may help because there are more than 50 evidence retention schemes in the existing Operation and Planning (O&P) and CIP Standards. We agree with the report that if the reliability risk is low or inconsequential, data retention length should be as short as possible. We also concur that today's practice relies too much on the historical evidence which promulgates the burdensome practices of retaining data for indefinite time periods. We support a review and potential update of the referenced White Paper recommendations. | Yes, We believe that even though there may be improvements in efficiency with this concept, unless it reduces the collecting of low risk data, there will not be significant improvement in efficiency by only reducing the retention periods. | Yes, In our opinion, with this effort, assurance should be provided for entities to protect them from being asked to provide evidence from the past for time beyond this effort's proposed retention periods. We think going from 50 evidence retention schemes to 8 is definitely a step in the right direction, however it appears that by focusing on the High VRF requirements, they are missing an opportunity to reduce the retention periods for Medium and Low standards to a level commensurate with the risk to the BES. We also believe that in many of the Medium and Low Standards, the default "Rolling 48 months data retention period" could be reduced further.
2019-09-23 11:40 | Bob | Case | Black Hills Corporation | Bob.Case@blackhillscorp.com | (605)721-2716 | Yes, Concur with the comments being submitted by EEI. | Yes, Concur with the comments being submitted by EEI. | Yes, Concur with the comments being submitted by EEI.
2019-09-23 14:22 | Jeanne | Kurzynowski | Consumers Energy Company | jmkurzyn@cmsenergy.com | 517-788-1110 | Yes, Having certainty around evidence retention will help ensure the right evidence is retained, and non-essential documentation can be removed, saving storage space. | No | No
2019-09-23 14:47 | Mark | Gray | Edison Electric Institute | mgray@eei.org | 202-508-5122 | Yes, EEI member companies support the good work performed by the responsible SER Phase 2 team in developing the Evidence Retention Report, which identifies potential data retention efficiencies. While we believe there remains some further opportunities for additional efficiencies (see our response to Question 2), the evidence retention schemes recommendations should result in efficiency gains, including enhanced clarity and consistency for industry and the ERO Enterprise in data retention expectations. | Yes, While EEI members support the proposed evidence retention schemes identified in the Evidence Retention Report. However, we believe there are additional opportunities for streamlining the proposed processes. We suggest the following changes to the Recommended Evidence Retention Schemes (see page 20 of the Evidence Retention Report): 1. Scheme 4 should be removed in favor of Scheme 6 for high-volume data retention. There is insufficient rational for maintaining Scheme 4 (as stated in the report) and we believe there aren’t any reliability concerns associated with addressing high-volume data retention in Scheme 6. 2. Scheme 8 should be removed and addressed in Scheme 7. As stated in the report,” a rolling 36-month data evidence retention period provides a lot of data for CEAs to determine compliance and support the ERO Enterprise focus of risk-informed compliance monitoring. | Yes, EEI members companies are of the opinion that the regional standards should also be harmonized with the evidence and data retention improvements being proposed through this process. While we recognize that regional standards are developed outside of the NERC standards development process, working with the regions to adopt the proposed changes will further enhance this effort and avoid any unnecessary confusion that might occur using different data and evidence retention processes.
2019-09-23 16:27 | Daniel | Gacek | Exelon | daniel.gacek@exeloncorp.com | (779) 231-1352 | Yes, Exelon agrees with the EEI comments. The uniform evidence retention schemes proposed will reduce the complexity of maintaining evidence leading to organizational efficiencies. | Yes, Exelon agrees with the EEI comment. | Yes, Exelon supports the EEI comment. Additionally, the report outlines potential schemes for the medium and low VRF requirements but recommends focusing on high VRF requirements. Exelon believe the report should encourage a review of all evidence retention obligations to ensure none are more burdensome than necessary to achieve the reliability objective.
2019-09-23 18:00 | Sangeetha | Losari | Los Angeles Department of Water and Power | sangeetha.losari@ladwp.com | 213-367-2315 | Yes, Yes, this will help our organization to become more efficient. Standardizing the data retention requirements required by NERC will require less time managing the required data. The other consideration that would help is training to the auditors. Once the auditors are trained, they will audit to the training period provided in the standard and that means entity is required to retain record only for the particular period of time per standard. | No | No
2019-09-23 15:38 | Rachel | Coyne | Texas Reliability Entity, Inc. | rachel.coyne@texasre.org | 512-583-4956 | No, Texas Reliability Entity Inc. (Texas RE) appreciates the SER Team’s efforts to streamline the evidence retention schemes as described in the Item XX SER Evidence Retention Report dated June 24, 2019 and agrees there is room for improvement in aligning the various evidence retention schemes. The purpose and value of evidence retention also gives the registered entity management a clear way of evaluating their own internal programs and the associated internal controls managing the programs. Texas RE does have some concerns, however, and posits that some of the recommendations do little or nothing to ease the regulatory burden on registered entities. More important, many of the recommendations may prevent a Compliance Enforcement Authority (CEA) from obtaining reasonable assurance of compliance. Texas RE is concerned that some of the suggestions, and the rationale for the suggestions, do not support sound principles associated with auditing practices in accordance with the Government Auditing Standards. Additionally, Texas RE describes concerns with some of the statements in the report, with the proposed evidence retention schemes, and with the recommendations. | Yes, Please see the Texas RE's comments sent to Chris Larson on September 23, 2019. | Yes, Please see the Texas RE's comments sent to Chris Larson on September 23, 2019.
2019-09-23 16:00 | Kim | Thomas | Duke Entity | Kim.Thomas@Duke-Energy.com | 919-546-4021 | No, (1) Recommended Data/Evidence Retention Scheme #1 (Page 20 of the June 24, 2019 Report): Duke Energy requests additional clarification regarding how many evidence revision documents must be retained for the applicable evidence retention period (e.g., if a single document is revised multiple times during the evidence retention period, how many document revisions must be retained as evidence). (2) Recommended Data/Evidence Retention Scheme #2 (Page 20 of the June 24, 2019 Report): Duke Energy requests additional clarification regarding how many previous testing interval evidence documents are required for the applicable evidence retention period and the format of the required evidence (e.g., is date alone adequate for historical evidence documents). (3) Recommended Data/Evidence Retention Scheme #3 (Pages 22 and 65 of the June 24, 2019 Report): Duke Energy requests additional clarification regarding the validation of Audio and Voice Recordings. For example, regarding TOP-001-4 R1: Appendix A, Page 22, Item #11 of the June 24, 2019 Report, indicates a “Current Calendar Year Plus One Previous Calendar Year, except operator logs and voice recordings - retain for 90 calendar days” of existing evidence are necessary; Appendix D, Page 65, indicates a “Rolling 12 Calendar months data retention period” as the New Evidence Retention Recommendation; If the Rolling 12 Calendar month data retention period is correctly stated as the new evidence retention recommendation, this proposed requirement appears to be burdensome to the industry and lacks apparent merit. Please: (a) Validate the rolling 12 calendar month period is correct (or if incorrect, validate the 90 or other calendar days period), and (b) if the rolling 12 calendar month period is determined correct, state a basis for such an arduous data retention period recommendation. | Yes, See comments #1 and #3. | Yes, Duke Energy requests additional information regarding retention scheme implementation such as timeline, responsibility, process, and method.